## Preliminary and General
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
Item | Payment | Short Description | Unit | Quantity | Rate | Amount
No. | Refers
| SABS | SCHEDULE 1: PRELIMINARY AND GENERAL
1 | 1200AA | GENERAL (SMALL WORKS)
1.1 | 8.3 | Fixed charge items
1.1.1 | 8.3.1 | Contractual requirements | Sum | 1
1.1.2 | 8.3.2 | Provision for facilities on site
|  | (a) Facilities required by contractor | Sum | 1
|  | (b) Facilities required by Engineer | Sum | 1
|  | (c) Provision of contract signboard to Drawing | No | 1
1.1.3 | 8.3.3 | General responsibilities and other fixed charged items | Sum | 1
1.1.4 | 8.3.4 | Removal of site establishment | Sum | 1
1.2 | 8.4 | Time-related items
1.2.1 | 8.4.1 | Contractual requirements | Sum | 1
1.2.2 | 8.4.2 | Operating and maintaining of facilities on site
|  | (a) Facilities for the Engineer | Sum | 1
|  | (b) Facilities for the Contractor | Sum | 1
1.2.3 | 8.4.3 | General responsibilities and other time related obligations | Sum | 1 |  | Rate Only
1.2.4 | PSA 5.5 | Dealing with water (dewatering of excavations etc.) | Sum | 1
1.3 | 8.7 | Provisional sums, price cost items and dayworks
1.3.1 |  | Community Liaison Officer | Prov Sum | 1 | 36000 | 36000
1.3.1.1 |  | Percentage adjustment to item 1.3.1 | % | 36000
1.3.2 |  | Provision of a cellular phone and airtime for the engineer | Prov Sum | 1 | 12000 | 12000
1.3.2.1 |  | Percentage adjustment to item 1.3.2 | % | 12000
1.3.3 |  | Occupational Health and Safety Officer | Sum | 1
1.3.4 |  | Accommodation for the Engineer | Prov Sum | 1 | 40000 | 40000
1.3.4.1 |  | Percentage adjustment to item 1.3.4 | % | 40000
Sub - Total Carried to Summary

## Ablution Facilities
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO. 2
ABLUTIONS x 2 BLOCKS
BILL NO. 1
FOUNDATIONS (PROVISIONAL)
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
1 | Trenches | m³ | 58
Extra over trench and hole excavations in earth for excavation in
2 | Soft rock | m³ | 6
3 | Hard rock | m³ | 3
Extra over all excavations for carting away
4 | Surplus material from excavations on site to a dumping site to be located by the contractor | m³ | 25
Risk of collapse of excavations
5 | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 187
Keeping excavations free of water
6 | Keeping excavations free of water | Item | 2
Earth filling obtained from the excavations and/or prescribed stockpiles on site including compacted to 93% Mod AASHTO density
7 | Under floors, steps, paving, etc | m³ | 8
8 | Backfilling to trenches, holes, etc | m³ | 25
Earth filling obtained from commercial source
9 | Under floors, steps, paving, etc | m³ | 10
Compaction of surfaces
10 | Compaction of ground surface under floors etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Maximum Dry Density | m² | 116
11 | Ditto, but under aprons, etc. | m² | 73
Prescribed density tests on filling
12 | Modified AASHTO Density test | No | 5
SOIL POISONING
Soil poisoning and insecticide
13 | Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m² | 116
14 | Under aprons | m² | 73
15 | To bottoms and sides of trenches etc | m² | 260
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
Hand mixing of concrete will not be allowed
16 | 25MPa/19mm concrete | m³ | 19
REINFORCEMENT
Mild steel reinforcement to structural concrete work
17 | 10mm Diameter bars | t | 2
High tensile steel reinforcement to structural concrete work
18 | 12mm Diameter bars | t | 1
TEST CUBES
10 | Allow for preparing asetofthreeconcretestrengthtestcubes,eachsize150x150x150mm,sendingthemtoanapprovedTestingLaboratoryfortestingandpayingallchargesinconnectiontherewith(one block to be tested after 7 days). | sets | 5
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
BRICKWORK IN FOUNDATIONS
Brickwork of NFP bricks in class II mortar
20 | One brick walls | m² | 64
BRICKWORK SUNDRIES
Brickwork reinforcement
21 | 150mm Wide reinforcement built in horizontally | m | 320
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R4500,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
22 | Extra over brickwork for face brickwork | m² | 20
BILL NO.2
CONCRETE, FORMWORK AND REINFORCEMENT
UNREINFORCED CONCRETE
20MPa/19mm concrete
1 | Aprons cast in panels | m³ | 12
2 | Ramp | m³ | 1
REINFORCED CONCRETE
30MPa concrete
3 | Surface beds cast in panels on waterproofing. | m³ | 11
4 | Allow for preparing a set of three concrete strength test cubes, each size 150x150x150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | sets | 5
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a steel trowel
5 | Surface beds, slabs, etc | m² | 116
Finishing top surfaces of concrete smooth with a wood trowel
6 | Aprons to falls | m² | 73
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
ROUGH FORMWORK (DEGREE OF ACCURACY III)
Rough formwork to sides:
7 | Edges, risers, etc. not exceeding 300mm high or wide | m | 80
MOVEMENT JOINTS ETC
Expansionjointswithbitumenimpregnatedsoftboardbetweenvertical concrete and brick surfaces
8 | 12mm Joints not exceeding 300mm high (Provisional) | m | 30
Saw cut
9 | 4 x 30mm Deep saw cut joint in concrete floor | m | 55
Mesh reinforcement:
10 | Ref 395 Mesh steel fabric reinforcement laid in surface beds, etc. lapped minimum 150mm along edges and ends (Measured net) | m² | 116
BILL NO. 3
MASONRY
SUPERSTRUCTURE
BRICKWORK SUNDRIES
Reinforced precast concrete lintels
1 | Standard 110mm wide x75mm high approved reinforced precast concrete lintel not exceeding 3m long, with ends built into brickwork in cement mortar including propping | m | 45
Brickwork reinforcement
2 | 75mm Wide reinforcement built in horizontally | m | 150
3 | 150mm Wide reinforcement built in horizontally | m | 492
Galvanised wire ties etc
4 | 1,6mm Thick galvanised roof tie, 32mm wide, 1.2m girth bent double zig-zag, with one end built into brickwork minimum 6 courses deep and other end wrapped overtimber truss and fixed with four gavanised nails, 40mm long. | No | 80
FIBRE-CEMENT WINDOW SILLS
Natural grey sills in single lengths bedded in cement mortar, including metal fixing lugs, etc
5 | 14 x 150mm Wide sills set flat and slightly projecting | m | 25
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R4500,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
6 | Half brick walls faced both sides | m² | 101
7 | One Brickwall faced both sides | m² | 256
BILL NO. 4
WATERPROOFING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
DAMP PROOFING
One layer 250 micron "Gunplas USB Green" polyethylene waterproofing:
1 | On compacted earth under concrete surface beds, lapped 150mm and sealed at all joints (measured net). | m² | 116
One layer 375 micron embossed "Gunplas Brikgrip" polyethylene damp proof course fixed with approved adhesive:
2 | Horizontally in walls | m² | 19
3 | Vertically in walls | m² | 2
BILL NO. 5
ROOF COVERINGS ETC
NOTE: Tenderers are advised to study the "Model Preambles for Trades (1999 edition) published by the Association of South African Quantity Sureveyors before pricing this bill
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
PROFILED METAL SHEETING AND ACCESSORIES
Note The Contractor is to submit and handover to the Representative/Agent a certificate signed by the merchant, stating that the galvanised roof covering supplied complies with the required thickness specified The Contractor is to supply and handover to the Representative/Agent by completion a written gaurantee, stating that all the roofswithsheets and accessories to be waterproof for a minimum period of one year, calculated from the final delivery date
0,55mm Thick IBR profiled galvanised roof sheeting, G550 ISQ550 with "Chromadek" Charcoal grey finish to one side and half coat Classicoat Grey other side and accessories fixed to timber purlings.
1 | Roof covering with pitch not exceeding 25 degrees | m² | 156
2 | Barge flashing 375mm girth | m | 30
ROOF INSULATION
Sisalation 410 housing grade glass fibre reinforced aluminium foil bonded insulation
3 | Insulation laid out over rafters (at approximately 1200mm centres) and fixed concurrent with tiling battens, purlins, etc | m² | 190
BILL NO. 6
CEILINGS, PARTITIONS AND ACCESS FLOORING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
CEILING CONSTRUCTION, CORNICES, ETC.
Insulation
1 | 50mm glass fibre insulation blanket to manufacturer's specification, laid on ceiling. | m² | 116
Wrought meranti
2 | 19 x 76mm Cornices nailed | m | 231
NAILED UP AND SCREWED UP CEILINGS
6mm Gypsum plastered board
3 | Ceilings including 38x38mm brandering at 90 deg to trusses at maximum centres of 400mm by 32mm long galvanised nails. | m² | 116
4 | Extra over ceiling for opening for 610x610mm trap door of 50x76mm wrought softwood rebated framing with one 38x38mm sawn softwood crossbrander covered with ceiling board and fitted flushing opening | No | 2
BILL NO. 7
CARPENTRY AND JOINERY
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
ROOFS, ETC
1 | Roof construction (Refer to drawings for details) | m² | 190
DOORS,ETC
44mm Solid core doors (Refer to drawings)
2 | Door 813 x 2032mm high (D1) | No | 2
3 | Door 813 x 2032mm high (D2) | No | 2
4 | Door 813 x 1932mm high with 150mm undercut (D3) | No | 10
5 | Door 913x 2032mm high (D4) | No | 4
6 | Door 813 x 2032mm high (D5) | No | 2
BILL NO. 8
IRONMONGERY
CATCHES, CABIN HOOKS, ETC
In accordance with "Approved" catalogue
1 | 75mm cabin hook and eye | No | 4
LOCKS
Unless otherwise described locks shall have two keys each
EN-SUITE LOCKS
The following locks are to be suitable for master key operation
In accordance with "Approved" catalogue
2 | 100mm padlock, with two keys | No | 1
3 | four-lever lockset with striking plate fixed to metal, and two keys | No | 20
HANDLES
In accordance with approved catalogue
4 | Install chrome plated pair of handles | No | 20
LETTERS, NAME PLATES, ETC
Approved 150 x 150 x 3mm thick PVC standard safety signage
5 | Fire extinguisher sign plugged | No | 2
6 | Toilet sings | No | 15
HINGES, BOLTS, ETC
7 | 100mm hinges | No | 10
8 | 160mm Stainless steel flush bolt. (Provisional) | No | 1
BATHROOM FITTINGS
Approved
9 | Polishedstainlesssteelsingletowelrail,size900x55mmdeepplugged and screwed to wall with stainless steel screws | No | 2
10 | Polishedstainlesssteeldoublearmsoaprack,size163x100mmdeepplugged and screwed to wall with stainless steel screws | No | 2
11 | Sparerollandlockablesteeltoilettissuedipenser,sizesuitableforthreetissues,pluggedandscrewedtowallwithstainlesssteelscrews.(Provisional) | No | 2
12 | Wallbinplastic40Litrecapacity,pluggedandscrewedtowallwithstainless steel screws | No | 2
Sundries
Approved
13 | Stainless half-round door stop screw and plug to floor. | No | 2
14 | 38mmdiameterrubberdoor-stopscrewedandplugedtowall/floor.(Provisional) | No | 2
BILL NO. 9
METALWORK
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WELDED SCREENS, GATES, ETC
The following in framed and welded mild steel security gates and fixing in position complete
1 | Single gate and frame 1x2032mm high of 25x25x2m hollow section frame an 25x25x2mm hollow section horizontal middle rail filled in with 12x12mm square section vertical rails at 75mm centre sand fitted with a pair of suitable hinges welded to frame of 25x25x2mm hollow section welded frame bolted to brickwork, by specialist. | No | 2
PRESSED STEEL DOOR FRAMES
1,2mm Thick single rebated door frame suitable for 115mm brickwall
2 | Frame for door 815 x 2032mm high | No | 18
3 | Frame for door 915 x 2032mm high | No | 2
1,2mm Thick single rebated door frame suitable for 230mm brickwall
STEEL WINDOWS, DOORS, ETC
Standard residential windows
4 | Window type E1, size 533 x 654mm high | No | 16
5 | Window type E2, size 1022 x 654mm high | No | 14
BILL NO. 10
PLASTERING
SUPPLEMENTARY PREAMBLES
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
SCREEDS
Screeds on concrete
1 | 30mm Thick on floors and landings | m² | 123
BILL NO. 11
TILING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WALL TILES
Ceramic wall tiles (PC amount R250/m2) glued to plaster (elsewhere) with approved adhesive to:
1 | To walls | m² | 116
2 | Skirting formed of ceramic tile cut to 300 x 100mm high | m | 231
BILL NO. 12
PLUMBING (PROVISIONAL))
SOIL DRAINAGE
uPVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction
Vertical fixed to wall :
7 | 40mm pipe | m | 15
8 | 110mm pipe | m | 25
PVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction and including excavation not exceeding 1,5m, risk of collapse, soilpoisoning, backfilling.
Chased into wall and concrete : Horizontal
9 | 40mm pipe | m | 35
10 | 110mm pipe | m | 6
Extra over PVC pipes for
11 | 110mm Stop End | No | 10
12 | 110mm bend | m | 10
13 | Pan connector | No | 24
14 | Roding Eye Y-junction and uPVC cover screwed on. | No | 10
15 | 40 x 110mm Reducing Junction | No | 10
16 | 110mm Y-Junction | No | 10
Gulleys
17 | 100mm Gulley trap, including head and U-PVC circular head and grating, excavation not exceeding 2mm deep | No | 4
SLEEVES, ETC
18 | 110mm PVC sleeve pipe and excavations not exceeding 1.5m deep, risk of collapse, backfilling, scattering available, etc. | m | 30
SANITARY FITTINGS
19 | Basin, size 585x435mm plugged and screwed to walls with two screws including chromium plated caps and sealed with silicone sealant where basin meets wall. | No | 16
20 | Water-closet, back to wall wash down suite comprising 90 degrees outlet closed rimback inlet pan and concealed flushing valve (elsewhere) including lid and fitments with seat. | No | 10
21 | Disabled Water-closet, back to wall wash down suite comprising 90 degrees outlet closed rimback inlet pan and concealed flushing valve (elsewhere) including lid and fitments with seat. | No | 4
22 | Shower Complete with taps,waste, etc | No | 2
23 | Urinals Complete with flushmuster | No | 8
TRAPS, ETC
24 | Basin waste, 40mm outlet and back-nut, plug and chain , un-slotted | No | 14
25 | Basin bottle-trap and arm, 40mm chromium plated | No | 14
SANITARY PIPEWORK
uPVCwastewaterpipesincludingshortlengths,cutting,etcandjointed in accordance with the manufacturer's instruction
Horizontal fxed to wall:
26 | 40mm pipe | m | 20
27 | 110mm Pipe | m | 20
Extra over PVC pipes for
28 | 40mm Pipes fixed to walls or slabs | m | 20
29 | 40mm T-joint | No | 20
30 | 110mm Pipes fixed to walls | m | 20
Extra over for
31 | 40mm Inspection Eye Bend | No | 20
32 | 110mm Stop End | No | 20
33 | 110mm Vent Horn Bend | No | 20
Sundries
34 | Allow for the test of the complete sanitary pipework | Sum | 1
WATER SUPPLY
Hard drawn copper tube water pipes with capillary type copper tube fittings, including short lengths, cutting, plain sockets and jointing
Class 0
35 | 15mm Pipes and fixing in and including chase in brick work | m | 40
36 | 22mm Pipe | m | 30
Class 2
37 | 22mm Pipe | m | 12
Extra over copper pipes for capillary fittings
Class 0
38 | 15mm Fittings | No | 25
39 | 22mm Fittings | No | 10
Flexible service pipes
40 | Flexiblehose, 15mm braided service pipe 380mm girth including two chromium plated screw caps and linings complete | No | 1
41 | Flexiblehose, 15mm braided service pipe 150mm girth including two chromium plated screw caps and linings complete | No | 2
Sundries
42 | Extra over excavation in earth for pipe trenches, chambers, etc for excavation in soft rock | m³ | 3
Brick inspection chambers including benching (covers and channels elsewhere)
43 | 400 x 400mm Inspection chamber 100mm deep internally | No | 1
Cast iron covers etc
44 | 265 x 265mm seal manhole cover and frame | No | 1
Galvanised steel pipes with screwed and socketed joints
45 | 22mm Pipes | No | 1
Extra over galvanised steel pipes with screwed and socketed joints for brass fittings
46 | 22mm Fittings | No | 1
TAPS, VALVES, ETC
Brass valves, taps, etc. including joints to copper pipes and/orfittings
47 | 22mm Brass hose bib-tap | No | 2
48 | 15mm brass in-line strainer | No | 2
49 | 15mm Ball-o-stop valve | No | 2
50 | 20mm Fullway ball cock with plastic coated mild steel lever handle | No | 2
51 | Inlet and Outlet pressure control valve 2500/400KPa | No | 1
Chromium plated valves, taps, etc. including joints to copper pipes and/or fittings
52 | Pillar tap, push-button 15mm chrome plated, with aerator for indicating hot/cold. | No | 15
Approved
| Angle valve, 15mm chromium plated | No | 2
Sundry
53 | Excavation in earth not exceeding 1m deep for pipe trenches, including risk of collapse, bedding, and backfilling | No | 2
Flush valves, etc
54 | Flushvalve, 20mm rough brass concealed Water-Closetstandardwithverticalbrassandhorizontalchromeplatedbackentryflushpipe,elbowconnector, palm press push button, rubber pan connector, integral vacuum breaker, control stop and adjustable telescopic connection. | No | 2
BILL NO. 13
GLAZING
Glazing to steel sashes fixed with approved putty:
Clear glass and glazed (Provisional)
1 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m 2 and not exceeding 2m2 | No | 15
Obscure glass
2 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m2 and not exceeding 2m2 | No | 3
MIRRORS
3 | 6mmFloatglassmultiplesilveredmirrorsize300x450mmwithpolishedandbevellededges,holedandscrewedwithfourchromiumplateddomeheadedscrewswithrubberspacerwashersbehind,toand including hardwood plugs in wall. | No | 8
BILL NO 14
PAINTWORK
PAINTWORK, ETC TO NEW WORK ON
ON FIBRE-CEMENT
One coat primer, one coat universal under coat and two coats "Dulux" super acrylic PVA paint
1 | On ceilings | m2 | 116
WOOD SURFACES WITH
One coat Plascon merit universal under coat, and two coats Plascon Velveglo polyrethane velvet enamel paint on
2 | Doors | m² | 28
Three coats Plascon Woodcare coloured varnish on
3 | Cornice, rails, etc not exceeding 300mm girth | m² | 10
METAL SURFACES
Prepare, touch up redoxide factory primer, one coat Plascon merit universal under coat and two coats Plascon Velvaglo Polyurethane enamel paint
4 | Door frames, etc | m² | 15
5 | Steel gates | m² | 2
6 | On members of roof trusses (Provisional) | m² | 3
7 | On rails, bars, pipes, etc not exceeding 300 mm girth | m² | 10
BUDGETARY ALLOWANCE
| Allow the amount of R150 000 (One Hundred and Fifty Thousands) for Electrical works | Item | 1 | 150000 | 150000
Sub - Total Carried to Summary

## Guard House
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO. 3
GUARD HOUSE
BILL NO. 1
FOUNDATIONS (PROVISIONAL)
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
1 | Trenches | m³ | 15
| Hole | m³ | 2
Extra over trench and hole excavations in earth for excavation in
2 | Soft rock | m³ | 2
3 | Hard rock | m³ | 1
Extra over all excavations for carting away
4 | Surplus material from excavations on site to a dumping site to be located by the contractor | m³ | 5
Risk of collapse of excavations
5 | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 54
Keeping excavations free of water
6 | Keeping excavations free of water | Item | 1
Earth filling obtained from the excavations and/or prescribed stockpiles on site including compacted to 93% Mod AASHTO density
7 | Under floors, steps, paving, etc | m³ | 7
8 | Backfilling to trenches, holes, etc | m³ | 5
Earth filling obtained from commercial source
9 | Under floors, steps, paving, etc | m³ | 5
Compaction of surfaces
10 | Compaction of ground surface under floors etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Maximum Dry Density | m² | 43
11 | Ditto, but under aprons, etc. | m²
Prescribed density tests on filling
12 | Modified AASHTO Density test | No | 2
SOIL POISONING
Soil poisoning and insecticide
13 | Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m² | 43
14 | Under aprons | m²
15 | To bottoms and sides of trenches etc | m² | 70
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
Hand mixing of concrete will not be allowed
16 | 25MPa/19mm concrete | m³ | 5
REINFORCEMENT
Mild steel reinforcement to structural concrete work
17 | 10mm Diameter bars | t | 1
High tensile steel reinforcement to structural concrete work
18 | 12mm Diameter bars | t
TEST CUBES
10 | Allow for preparing asetofthreeconcretestrengthtestcubes,eachsize150x150x150mm,sendingthemtoanapprovedTestingLaboratoryfortestingandpayingallchargesinconnectiontherewith(one block to be tested after 7 days). | sets | 1
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
BRICKWORK IN FOUNDATIONS
Brickwork of NFP bricks in class II mortar
20 | One brick walls | m² | 16
| Piers | m³ | 1
BRICKWORK SUNDRIES
Brickwork reinforcement
21 | 150mm Wide reinforcement built in horizontally | m | 85
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R4500,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
22 | Extra over brickwork for face brickwork | m² | 5
BILL NO.2
CONCRETE, FORMWORK AND REINFORCEMENT
REINFORCED CONCRETE
30MPa concrete
1 | Surface beds cast in panels on waterproofing. | m³ | 4
2 | Allow for preparing a set of three concrete strength test cubes, each size 150x150x150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | sets | 1
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a steel trowel
3 | Surface beds, slabs, etc | m² | 43
Finishing top surfaces of concrete smooth with a wood trowel
4 | Aprons to falls | m²
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
ROUGH FORMWORK (DEGREE OF ACCURACY III)
Rough formwork to sides:
5 | Edges, risers, etc. not exceeding 300mm high or wide | m | 10
MOVEMENT JOINTS ETC
Expansionjointswithbitumenimpregnatedsoftboardbetweenvertical concrete and brick surfaces
6 | 12mm Joints not exceeding 300mm high (Provisional) | m | 5
Saw cut
7 | 4 x 30mm Deep saw cut joint in concrete floor | m | 10
Mesh reinforcement:
8 | Ref 395 Mesh steel fabric reinforcement laid in surface beds, etc. lapped minimum 150mm along edges and ends (Measured net) | m² | 43
BILL NO. 3
MASONRY
SUPERSTRUCTURE
BRICKWORK SUNDRIES
Reinforced precast concrete lintels
1 | Standard 110mm wide x75mm high approved reinforced precast concrete lintel not exceeding 3m long, with ends built into brickwork in cement mortar including propping | m | 20
Brickwork reinforcement
2 | 75mm Wide reinforcement built in horizontally | m | 20
3 | 150mm Wide reinforcement built in horizontally | m | 110
Galvanised wire ties etc
4 | 1,6mm Thick galvanised roof tie, 32mm wide, 1.2m girth bent double zig-zag, with one end built into brickwork minimum 6 courses deep and other end wrapped overtimber truss and fixed with four gavanised nails, 40mm long. | No | 23
FIBRE-CEMENT WINDOW SILLS
Natural grey sills in single lengths bedded in cement mortar, including metal fixing lugs, etc
5 | 14 x 150mm Wide sills set flat and slightly projecting | m | 4
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R4500,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
6 | Piers | m3 | 2
7 | Half brick walls faced both sides | m² | 8
8 | One Brickwall faced both sides | m² | 86
BILL NO. 4
WATERPROOFING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
DAMP PROOFING
One layer 250 micron "Gunplas USB Green" polyethylene waterproofing:
1 | On compacted earth under concrete surface beds, lapped 150mm and sealed at all joints (measured net). | m² | 43
One layer 375 micron embossed "Gunplas Brikgrip" polyethylene damp proof course fixed with approved adhesive:
2 | Horizontally in walls | m² | 6
3 | Vertically in walls | m² | 2
BILL NO. 5
ROOF COVERINGS ETC
NOTE: Tenderers are advised to study the "Model Preambles for Trades (1999 edition) published by the Association of South African Quantity Sureveyors before pricing this bill
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
PROFILED METAL SHEETING AND ACCESSORIES
Note The Contractor is to submit and handover to the Representative/Agent a certificate signed by the merchant, stating that the galvanised roof covering supplied complies with the required thickness specified The Contractor is to supply and handover to the Representative/Agent by completion a written gaurantee, stating that all the roofswithsheets and accessories to be waterproof for a minimum period of one year, calculated from the final delivery date
0,55mm Thick IBR profiled galvanised roof sheeting, G550 ISQ550 with "Chromadek" Charcoal grey finish to one side and half coat Classicoat Grey other side and accessories fixed to timber purlings.
1 | Roof covering with pitch not exceeding 25 degrees | m² | 63
2 | Barge flashing 375mm girth | m | 8
ROOF INSULATION
Sisalation 410 housing grade glass fibre reinforced aluminium foil bonded insulation
3 | Insulation laid out over rafters (at approximately 1200mm centres) and fixed concurrent with tiling battens, purlins, etc | m² | 63
BILL NO. 6
CEILINGS, PARTITIONS AND ACCESS FLOORING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
CEILING CONSTRUCTION, CORNICES, ETC.
Insulation
1 | 50mm glass fibre insulation blanket to manufacturer's specification, laid on ceiling. | m² | 43
Wrought meranti
2 | 19 x 76mm Cornices nailed | m | 38
NAILED UP AND SCREWED UP CEILINGS
6mm Gypsum plastered board
3 | Ceilings including 38x38mm brandering at 90 deg to trusses at maximum centres of 400mm by 32mm long galvanised nails. | m² | 43
4 | Extra over ceiling for opening for 610x610mm trap door of 50x76mm wrought softwood rebated framing with one 38x38mm sawn softwood crossbrander covered with ceiling board and fitted flushing opening | No | 1
BILL NO. 7
CARPENTRY AND JOINERY
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
ROOFS, ETC
1 | Roof construction (Refer to drawings for details) | m² | 63
DOORS,ETC
44mm Solid core doors (Refer to drawings)
2 | Door 813 x 2032mm high (D1) | No | 2
3 | Door 869 x 2032mm high (D2) | No | 1
BILL NO. 8
IRONMONGERY
CATCHES, CABIN HOOKS, ETC
In accordance with "Approved" catalogue
1 | 75mm cabin hook and eye | No | 2
LOCKS
Unless otherwise described locks shall have two keys each
EN-SUITE LOCKS
The following locks are to be suitable for master key operation
In accordance with "Approved" catalogue
2 | 100mm padlock, with two keys | No | 1
3 | four-lever lockset with striking plate fixed to metal, and two keys | No | 3
HANDLES
In accordance with approved catalogue
4 | Install chrome plated pair of handles | No | 3
LETTERS, NAME PLATES, ETC
Approved 150 x 150 x 3mm thick PVC standard safety signage
5 | Fire extinguisher sign plugged | No | 1
6 | Toilet sings | No | 1
HINGES, BOLTS, ETC
7 | 100mm hinges | No | 1
8 | 160mm Stainless steel flush bolt. (Provisional) | No | 1
BATHROOM FITTINGS
Approved
12 | Wallbinplastic40Litrecapacity,pluggedandscrewedtowallwithstainless steel screws | No | 1
Sundries
Approved
13 | Stainless half-round door stop screw and plug to floor. | No | 1
14 | 38mmdiameterrubberdoor-stopscrewedandplugedtowall/floor.(Provisional) | No | 1
BILL NO. 9
METALWORK
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WELDED SCREENS, GATES, ETC
The following in framed and welded mild steel security gates and fixing in position complete
1 | Single gate and frame 1x2032mm high of 25x25x2m hollow section frame an 25x25x2mm hollow section horizontal middle rail filled in with 12x12mm square section vertical rails at 75mm centre sand fitted with a pair of suitable hinges welded to frame of 25x25x2mm hollow section welded frame bolted to brickwork, by specialist. | No | 1
PRESSED STEEL DOOR FRAMES
1,2mm Thick single rebated door frame suitable for 115mm brickwall
2 | Frame for door 815 x 2032mm high | No | 3
STEEL WINDOWS, DOORS, ETC
Standard residential windows
4 | Window size 2760 x 1190mm high | No | 1
5 | Window size 580 x 1190mm high | No | 2
4 | Window size 580 x 580mm high | No | 1
5 | Window size 1022 x 654mm high | No | 1
BILL NO. 10
PLASTERING
SUPPLEMENTARY PREAMBLES
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
SCREEDS
Screeds on concrete
1 | 30mm Thick on floors and landings | m² | 43
BILL NO. 11
TILING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WALL TILES
Ceramic wall tiles (PC amount R250/m2) glued to plaster (elsewhere) with approved adhesive to:
1 | To walls | m² | 43
2 | Skirting formed of ceramic tile cut to 300 x 100mm high | m | 38
BILL NO. 12
PLUMBING (PROVISIONAL))
SOIL DRAINAGE
uPVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction
Vertical fixed to wall :
1 | 40mm pipe | m | 5
2 | 110mm pipe | m | 5
PVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction and including excavation not exceeding 1,5m, risk of collapse, soilpoisoning, backfilling.
Chased into wall and concrete : Horizontal
3 | 40mm pipe | m | 5
4 | 110mm pipe | m | 2
Extra over PVC pipes for
5 | 110mm Stop End | No | 2
6 | 110mm bend | m | 4
7 | Pan connector | No | 1
8 | Roding Eye Y-junction and uPVC cover screwed on. | No | 1
9 | 40 x 110mm Reducing Junction | No | 1
10 | 110mm Y-Junction | No | 1
Gulleys
11 | 100mm Gulley trap, including head and U-PVC circular head and grating, excavation not exceeding 2mm deep | No | 1
SLEEVES, ETC
12 | 110mm PVC sleeve pipe and excavations not exceeding 1.5m deep, risk of collapse, backfilling, scattering available, etc. | m | 10
SANITARY FITTINGS
13 | Basin, size 585x435mm plugged and screwed to walls with two screws including chromium plated caps and sealed with silicone sealant where basin meets wall. | No | 1
14 | Water-closet, back to wall wash down suite comprising 90 degrees outlet closed rimback inlet pan and concealed flushing valve (elsewhere) including lid and fitments with seat. | No | 1
TRAPS, ETC
15 | Basin waste, 40mm outlet and back-nut, plug and chain , un-slotted | No | 1
16 | Basin bottle-trap and arm, 40mm chromium plated | No | 2
SANITARY PIPEWORK
uPVCwastewaterpipesincludingshortlengths,cutting,etcandjointed in accordance with the manufacturer's instruction
Horizontal fxed to wall:
17 | 40mm pipe | m | 10
18 | 110mm Pipe | m | 10
Extra over PVC pipes for
19 | 40mm Pipes fixed to walls or slabs | m | 10
20 | 40mm T-joint | No | 1
21 | 110mm Pipes fixed to walls | m | 5
Extra over for
22 | 40mm Inspection Eye Bend | No | 3
23 | 110mm Stop End | No | 3
24 | 110mm Vent Horn Bend | No | 3
Sundries
25 | Allow for the test of the complete sanitary pipework | Sum | 1
WATER SUPPLY
Hard drawn copper tube water pipes with capillary type copper tube fittings, including short lengths, cutting, plain sockets and jointing
Class 0
26 | 15mm Pipes and fixing in and including chase in brick work | m | 10
27 | 22mm Pipe | m | 9
Class 2
28 | 22mm Pipe | m | 9
Extra over copper pipes for capillary fittings
Class 0
29 | 15mm Fittings | No | 4
30 | 22mm Fittings | No | 4
Flexible service pipes
31 | Flexiblehose, 15mm braided service pipe 380mm girth including two chromium plated screw caps and linings complete | No | 1
32 | Flexiblehose, 15mm braided service pipe 150mm girth including two chromium plated screw caps and linings complete | No | 2
Sundries
33 | Extra over excavation in earth for pipe trenches, chambers, etc for excavation in soft rock | m³ | 3
Brick inspection chambers including benching (covers and channels elsewhere)
34 | 400 x 400mm Inspection chamber 100mm deep internally | No | 1
Cast iron covers etc
35 | 265 x 265mm seal manhole cover and frame | No | 1
Galvanised steel pipes with screwed and socketed joints
36 | 22mm Pipes | No | 1
Extra over galvanised steel pipes with screwed and socketed joints for brass fittings
37 | 22mm Fittings | No | 1
TAPS, VALVES, ETC
Brass valves, taps, etc. including joints to copper pipes and/orfittings
38 | 22mm Brass hose bib-tap | No | 1
39 | 15mm brass in-line strainer | No | 1
40 | 15mm Ball-o-stop valve | No | 1
41 | 20mm Fullway ball cock with plastic coated mild steel lever handle | No | 1
42 | Inlet and Outlet pressure control valve 2500/400KPa | No | 1
Chromium plated valves, taps, etc. including joints to copper pipes and/or fittings
43 | Pillar tap, push-button 15mm chrome plated, with aerator for indicating hot/cold. | No | 1
Approved
| Angle valve, 15mm chromium plated | No | 1
Sundry
44 | Excavation in earth not exceeding 1m deep for pipe trenches, including risk of collapse, bedding, and backfilling | No | 1
Flush valves, etc
45 | Flushvalve, 20mm rough brass concealed Water-Closetstandardwithverticalbrassandhorizontalchromeplatedbackentryflushpipe,elbowconnector, palm press push button, rubber pan connector, integral vacuum breaker, control stop and adjustable telescopic connection. | No | 1
BILL NO. 13
GLAZING
Glazing to steel sashes fixed with approved putty:
Clear glass and glazed (Provisional)
1 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m 2 and not exceeding 2m2 | No | 7
Obscure glass
2 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m2 and not exceeding 2m2 | No | 2
MIRRORS
3 | 6mmFloatglassmultiplesilveredmirrorsize300x450mmwithpolishedandbevellededges,holedandscrewedwithfourchromiumplateddomeheadedscrewswithrubberspacerwashersbehind,toand including hardwood plugs in wall. | No | 1
BILL NO 14
PAINTWORK
PAINTWORK, ETC TO NEW WORK ON
ON FIBRE-CEMENT
One coat primer, one coat universal under coat and two coats "Dulux" super acrylic PVA paint
1 | On ceilings | m2 | 43
WOOD SURFACES WITH
One coat Plascon merit universal under coat, and two coats Plascon Velveglo polyrethane velvet enamel paint on
2 | Doors | m² | 8
Three coats Plascon Woodcare coloured varnish on
3 | Cornice, rails, etc not exceeding 300mm girth | m² | 5
METAL SURFACES
Prepare, touch up redoxide factory primer, one coat Plascon merit universal under coat and two coats Plascon Velvaglo Polyurethane enamel paint
4 | Door frames, etc | m² | 5
5 | Steel gates | m² | 3
6 | On members of roof trusses (Provisional) | m² | 3
7 | On rails, bars, pipes, etc not exceeding 300 mm girth | m² | 10
BUDGETARY ALLOWANCE
| Allow the amount of R35 000 (Thirty Five Thousands) for Electrical works | Item | 1 | 35000 | 35000
Sub - Total Carried to Summary

## Refurbishment of Ablution
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO. 4
REFURBISHMENT OF ABLUTION
BILL NO. 1
ALTERATIONS
SUPPLEMENTARY PREAMBLES
Existing structures In taking down and removing existing work, the utmost care shall be observed to prevent any structural or other damage to the adjoining buildings and the Contractor shall provide all shoring, needling, strutting, etc. to ensure the stability of all structures during the alteration work. Any damage to the structure and/or building as well as the rectification of same will be for the Contracor's account.
Services Special care shall be exercised during the progress of the work to ensure that electrical installation, water supply pipes, telephone and other services which may be encountered are not interfered with and notice shall be given to the Representative Agent if any disconnection or alterations become necessary. Any damage to such services shall be to the contractors account
Dust and noise The Contractor is to take all necessary precautions to the satisfaction of the Representative Agent to prevent any nuisance from the dust and/or noise whilst carrying out the work.
Disposal of debris The Contractor shall be responsible for the removal from site of all materials, debris and rubbish resulting from the work and the removal is deemed to be included in the rates unless otherwise specified.
Old materials Old materials from the alterations, except where described shall remain the property of the client.
Old materials to be carted away Old materials from the alterations, except where described to be re-used or handed over, as well as all rubbish, etc. must regularly be carted away from site and not be allowed to accumulate on or around the site.
Old materials not to be re-used except where instructed None of the old materials are to be re-used for new work, except where specifically instructed by the agent or described as being set aside for re-use.
Handing over of materials Where certain materials or articles from demolitions or alterations are described as to be handed over by the Contractor to the Representative/ Agent, such materials or articles shall be properly stored by the Contractor until handing over thereof. The Contractor must obtain an official receipt listing materials or articles and dates of handing over. If the Contractor fails to submit the receipt when requested, it shall be deemed that the materials or articles are still in his possession and he will be held liable to the Municipality for the full replacement value thereof, which amount will be deducted from any monies due to the Contractor.
Temporary support to openings through existing walls Making openings, altering openings in existing walls and removing lintols above existing openings shall be done with the utmost care to prevent any structural damage. All necessary supports, propping, shoring, needling strutting, turning pieces, etc. to wall openings is deemed to be included in the Contractor's rates.
Electrical And Mechanical Where items include for taking down electrical and mechanical fittings the disconnection and making safe electrically is deemed to be included.
REMOVAL OF EXISTING WORK
Breaking up and removing mass concrete
1 | Concrete aprons | m2 | 15
Taking down and removing roofs, floors, panelling, ceilings, partitions, etc and and handover to employer
2 | Carefully take out and remove the damaged existing IBR roofing sheet including and make good brickwork to receive new roof (New roof elsewhere measured) | m2 | 30
3 | Carefully take out and remove damaged existing timber roof trusses and make good brickwork to receive new roof trusses (New roof trusses elsewhere measured). | m2 | 18
4 | Fibre-cement fascias, barge boards | m | 18
5 | Gypsum board ceilings including gypsum cornices, timber brandering, electrical wiring, tubing, plugs, etc | m2 | 30
6 | Floor tiles covering including preparing screed for new floor covering | m2 | 28
6 | Wall Tiles | m2 | 30
Hacking up/off and removing granolithic, screeds, plaster, etc from concrete or brickwork and preparing surfaces for new screeds, plaster, etc
7 | 30mm Granolithic from floor | m2 | 5
Breakdown and remove brickwalls
8 | Half brick wall | m2 | 28
9 | One brick wall | m2 | 14
Make good existing facebrick
10 | Fill with mortar all holes in existing face bricks | m | 15
External and internal Plaster
11 | Remove damaged plaster internally on existing plaster including and patching with new plaster to flush and match existing | m2 | 685
Taking out and removing glass and preparing frame for new glass
12 | Glass from steel windows including cleaning out rebates and preparing for new glass | m2 | 15
Services of fittings, elements, latches, ironmongery, etc
13 | Carefully service latches, stays, peggings of exsting windows including oiling and tightening peg stays, latches, etc | No | 3
14 | Carefully examine hinges, handles and stays to steel windows, replace putty to glazing of steel windows and fully service same to facilitate smooth functionality, all to the satisfaction of the Principal Agent, overall size of window 1500 x 2000mm high | No | 3
Take out and remove sanitary fittings
15 | Water closet | No | 4
16 | Basin | No | 2
17 | Shower | No | 2
18 | Allow the amount of R4 000.00 (Four thousand rand) for the temporary disconnection and reconnection of plumbing pipes | Item | 1
BILL NO.2
CONCRETE, FORMWORK AND REINFORCEMENT
REINFORCED CONCRETE
30MPa concrete
1 | Surface beds cast in panels on waterproofing. | m³ | 2
2 | Aprons | m³ | 6
3 | Ramps | m³ | 4
4 | Allow for preparing a set of three concrete strength test cubes, each size 150x150x150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | sets | 1
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a steel trowel
5 | Surface beds, slabs, etc | m² | 5
Finishing top surfaces of concrete smooth with a wood trowel
6 | Aprons to falls | m² | 40
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
ROUGH FORMWORK (DEGREE OF ACCURACY III)
Rough formwork to sides:
7 | Edges, risers, etc. not exceeding 300mm high or wide | m | 40
MOVEMENT JOINTS ETC
Expansionjointswithbitumenimpregnatedsoftboardbetweenvertical concrete and brick surfaces
8 | 12mm Joints not exceeding 300mm high (Provisional) | m | 5
Saw cut
9 | 4 x 30mm Deep saw cut joint in concrete floor | m | 5
Mesh reinforcement:
10 | Ref 395 Mesh steel fabric reinforcement laid in surface beds, etc. lapped minimum 150mm along edges and ends (Measured net) | m² | 5
BILL NO. 3
MASONRY
SUPERSTRUCTURE
Brickwork of NFP bricks in class II mortar
1 | Half brick walls |  | 33
3 | One brick walls |  | 51
BRICKWORK SUNDRIES
Reinforced precast concrete lintels
4 | Standard 110mm wide x75mm high approved reinforced precast concrete lintel not exceeding 3m long, with ends built into brickwork in cement mortar including propping | m | 16
Brickwork reinforcement
5 | 75mm Wide reinforcement built in horizontally | m | 65
6 | 150mm Wide reinforcement built in horizontally | m | 150
Galvanised wire ties etc
7 | 1,6mm Thick galvanised roof tie, 32mm wide, 1.2m girth bent double zig-zag, with one end built into brickwork minimum 6 courses deep and other end wrapped overtimber truss and fixed with four gavanised nails, 40mm long. | No | 40
BILL NO. 4
WATERPROOFING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
DAMP PROOFING
One layer 250 micron "Gunplas USB Green" polyethylene waterproofing:
1 | On compacted earth under concrete surface beds, lapped 150mm and sealed at all joints (measured net). | m² | 5
One layer 375 micron embossed "Gunplas Brikgrip" polyethylene damp proof course fixed with approved adhesive:
2 | Horizontally in walls | m² | 2
3 | Vertically in walls | m² | 2
BILL NO. 5
ROOF COVERINGS ETC
NOTE: Tenderers are advised to study the "Model Preambles for Trades (1999 edition) published by the Association of South African Quantity Sureveyors before pricing this bill
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
PROFILED METAL SHEETING AND ACCESSORIES
Note The Contractor is to submit and handover to the Representative/Agent a certificate signed by the merchant, stating that the galvanised roof covering supplied complies with the required thickness specified The Contractor is to supply and handover to the Representative/Agent by completion a written gaurantee, stating that all the roofswithsheets and accessories to be waterproof for a minimum period of one year, calculated from the final delivery date
0,55mm Thick IBR profiled galvanised roof sheeting, G550 ISQ550 with "Chromadek" Charcoal grey finish to one side and half coat Classicoat Grey other side and accessories fixed to timber purlings.
1 | Roof covering with pitch not exceeding 25 degrees | m² | 70
2 | Barge flashing 375mm girth | m | 25
ROOF INSULATION
Sisalation 410 housing grade glass fibre reinforced aluminium foil bonded insulation
3 | Insulation laid out over rafters (at approximately 1200mm centres) and fixed concurrent with tiling battens, purlins, etc | m² | 70
BILL NO. 6
CEILINGS, PARTITIONS AND ACCESS FLOORING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
CEILING CONSTRUCTION, CORNICES, ETC.
Insulation
1 | 50mm glass fibre insulation blanket to manufacturer's specification, laid on ceiling. | m² | 70
Wrought meranti
2 | 19 x 76mm Cornices nailed | m | 107
NAILED UP AND SCREWED UP CEILINGS
6mm Gypsum plastered board
3 | Ceilings including 38x38mm brandering at 90 deg to trusses at maximum centres of 400mm by 32mm long galvanised nails. | m² | 62
4 | Extra over ceiling for opening for 610x610mm trap door of 50x76mm wrought softwood rebated framing with one 38x38mm sawn softwood crossbrander covered with ceiling board and fitted flushing opening | No | 1
BILL NO. 7
CARPENTRY AND JOINERY
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
ROOFS, ETC
1 | Roof construction (Refer to drawings for details) | m² | 70
DOORS,ETC
44mm Solid core doors (Refer to drawings)
2 | D4 | No | 6
3 | D5 | No | 1
BILL NO. 8
IRONMONGERY
CATCHES, CABIN HOOKS, ETC
In accordance with "Approved" catalogue
1 | 75mm cabin hook and eye | No | 1
LOCKS
Unless otherwise described locks shall have two keys each
EN-SUITE LOCKS
The following locks are to be suitable for master key operation
In accordance with "Approved" catalogue
2 | 100mm padlock, with two keys | No | 1
3 | four-lever lockset with striking plate fixed to metal, and two keys | No | 7
HANDLES
In accordance with approved catalogue
4 | Install chrome plated pair of handles | No | 7
LETTERS, NAME PLATES, ETC
Approved 150 x 150 x 3mm thick PVC standard safety signage
5 | Fire extinguisher sign plugged | No | 1
6 | Toilet sings | No | 4
HINGES, BOLTS, ETC
7 | 100mm hinges | No | 1
8 | 160mm Stainless steel flush bolt. (Provisional) | No | 1
BATHROOM FITTINGS
Approved
12 | Wallbinplastic40Litrecapacity,pluggedandscrewedtowallwithstainless steel screws | No | 1
Sundries
Approved
13 | Stainless half-round door stop screw and plug to floor. | No | 1
14 | 38mmdiameterrubberdoor-stopscrewedandplugedtowall/floor.(Provisional) | No | 1
BILL NO. 9
METALWORK
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WELDED SCREENS, GATES, ETC
The following in framed and welded mild steel security gates and fixing in position complete
1 | Single gate and frame 1x2032mm high of 25x25x2m hollow section frame an 25x25x2mm hollow section horizontal middle rail filled in with 12x12mm square section vertical rails at 75mm centre sand fitted with a pair of suitable hinges welded to frame of 25x25x2mm hollow section welded frame bolted to brickwork, by specialist. | No | 2
PRESSED STEEL DOOR FRAMES
1,2mm Thick single rebated door frame suitable for 115mm brickwall
2 | Frame for door 815 x 2032mm high | No | 4
STEEL WINDOWS, DOORS, ETC
Standard residential windows
4 | E1 | No | 4
5 | E2 | No | 2
4 | E5 | No | 1
5 | E6 | No | 1
BILL NO. 10
PLASTERING
SUPPLEMENTARY PREAMBLES
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
SCREEDS
Screeds on concrete
1 | 30mm Thick on floors and landings | m² | 43
INTERNAL AND EXTERNAL PLASTER
Cement plaster on brickwork
3 | On walls | m² | 280
BILL NO. 11
TILING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WALL TILES
Ceramic wall tiles (PC amount R250/m2) glued to plaster (elsewhere) with approved adhesive to:
1 | To walls | m² | 63
2 | Skirting formed of ceramic tile cut to 300 x 100mm high | m | 45
BILL NO. 12
PLUMBING (PROVISIONAL))
SOIL DRAINAGE
uPVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction
Vertical fixed to wall :
1 | 40mm pipe | m | 5
2 | 110mm pipe | m | 5
PVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction and including excavation not exceeding 1,5m, risk of collapse, soilpoisoning, backfilling.
Chased into wall and concrete : Horizontal
3 | 40mm pipe | m | 5
4 | 110mm pipe | m | 2
Extra over PVC pipes for
5 | 110mm Stop End | No | 2
6 | 110mm bend | m | 4
7 | Pan connector | No | 1
8 | Roding Eye Y-junction and uPVC cover screwed on. | No | 1
9 | 40 x 110mm Reducing Junction | No | 1
10 | 110mm Y-Junction | No | 1
Gulleys
11 | 100mm Gulley trap, including head and U-PVC circular head and grating, excavation not exceeding 2mm deep | No | 1
SLEEVES, ETC
12 | 110mm PVC sleeve pipe and excavations not exceeding 1.5m deep, risk of collapse, backfilling, scattering available, etc. | m | 10
SANITARY FITTINGS
13 | Basin, size 585x435mm plugged and screwed to walls with two screws including chromium plated caps and sealed with silicone sealant where basin meets wall. | No | 7
14 | Water-closet, back to wall wash down suite comprising 90 degrees outlet closed rimback inlet pan and concealed flushing valve (elsewhere) including lid and fitments with seat. | No | 3
15 | Bathtub complete | No | 2
16 | Shower Complete with taps,waste, etc | No | 2
17 | Urinals Complete with flushmuster | No | 1
TRAPS, ETC
18 | Basin waste, 40mm outlet and back-nut, plug and chain , un-slotted | No | 10
19 | Basin bottle-trap and arm, 40mm chromium plated | No | 2
SANITARY PIPEWORK
uPVCwastewaterpipesincludingshortlengths,cutting,etcandjointed in accordance with the manufacturer's instruction
Horizontal fixed to wall:
20 | 40mm pipe | m | 10
21 | 110mm Pipe | m | 10
Extra over PVC pipes for
22 | 40mm Pipes fixed to walls or slabs | m | 10
23 | 40mm T-joint | No | 1
24 | 110mm Pipes fixed to walls | m | 5
Extra over for
25 | 40mm Inspection Eye Bend | No | 3
26 | 110mm Stop End | No | 3
27 | 110mm Vent Horn Bend | No | 3
Sundries
28 | Allow for the test of the complete sanitary pipework | Sum | 1
WATER SUPPLY
Hard drawn copper tube water pipes with capillary type copper tube fittings, including short lengths, cutting, plain sockets and jointing
Class 0
29 | 15mm Pipes and fixing in and including chase in brick work | m | 10
30 | 22mm Pipe | m | 9
Class 2
31 | 22mm Pipe | m | 9
Extra over copper pipes for capillary fittings
Class 0
32 | 15mm Fittings | No | 4
33 | 22mm Fittings | No | 4
Flexible service pipes
34 | Flexiblehose, 15mm braided service pipe 380mm girth including two chromium plated screw caps and linings complete | No | 1
35 | Flexiblehose, 15mm braided service pipe 150mm girth including two chromium plated screw caps and linings complete | No | 2
Sundries
36 | Extra over excavation in earth for pipe trenches, chambers, etc for excavation in soft rock | m³ | 3
Brick inspection chambers including benching (covers and channels elsewhere)
37 | 400 x 400mm Inspection chamber 100mm deep internally | No | 1
Cast iron covers etc
38 | 265 x 265mm seal manhole cover and frame | No | 1
Galvanised steel pipes with screwed and socketed joints
39 | 22mm Pipes | No | 1
Extra over galvanised steel pipes with screwed and socketed joints for brass fittings
40 | 22mm Fittings | No | 1
TAPS, VALVES, ETC
Brass valves, taps, etc. including joints to copper pipes and/orfittings
41 | 22mm Brass hose bib-tap | No | 1
42 | 15mm brass in-line strainer | No | 1
43 | 15mm Ball-o-stop valve | No | 1
44 | 20mm Fullway ball cock with plastic coated mild steel lever handle | No | 1
45 | Inlet and Outlet pressure control valve 2500/400KPa | No | 1
Chromium plated valves, taps, etc. including joints to copper pipes and/or fittings
46 | Pillar tap, push-button 15mm chrome plated, with aerator for indicating hot/cold. | No | 1
Approved
| Angle valve, 15mm chromium plated | No | 1
Sundry
47 | Excavation in earth not exceeding 1m deep for pipe trenches, including risk of collapse, bedding, and backfilling | No | 1
Flush valves, etc
45 | Flushvalve, 20mm rough brass concealed Water-Closetstandardwithverticalbrassandhorizontalchromeplatedbackentryflushpipe,elbowconnector, palm press push button, rubber pan connector, integral vacuum breaker, control stop and adjustable telescopic connection. | No | 1
BILL NO. 13
GLAZING
Glazing to steel sashes fixed with approved putty:
Clear glass and glazed (Provisional)
1 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m 2 and not exceeding 2m2 | No | 9
Obscure glass
2 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m2 and not exceeding 2m2 | No | 2
MIRRORS
3 | 6mmFloatglassmultiplesilveredmirrorsize300x450mmwithpolishedandbevellededges,holedandscrewedwithfourchromiumplateddomeheadedscrewswithrubberspacerwashersbehind,toand including hardwood plugs in wall. | No | 4
BILL NO 14
PAINTWORK
PAINTWORK, ETC TO NEW WORK ON
ON FIBRE-CEMENT
One coat primer, one coat universal under coat and two coats "Dulux" super acrylic PVA paint
1 | On ceilings | m2 | 62
WOOD SURFACES WITH
One coat Plascon merit universal under coat, and two coats Plascon Velveglo polyrethane velvet enamel paint on
2 | Doors | m² | 12
Three coats Plascon Woodcare coloured varnish on
3 | Cornice, rails, etc not exceeding 300mm girth | m² | 5
METAL SURFACES
Prepare, touch up redoxide factory primer, one coat Plascon merit universal under coat and two coats Plascon Velvaglo Polyurethane enamel paint
4 | Door frames, etc | m² | 5
5 | Steel gates | m² | 3
6 | On members of roof trusses (Provisional) | m² | 3
7 | On rails, bars, pipes, etc not exceeding 300 mm girth | m²
BUDGETARY ALLOWANCE
| Allow the amount of R35 000 (Thirty Five Thousands) for Electrical works | Item | 1 | 35000 | 35000
Sub - Total Carried to Summary

## Sports Field
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 5
BILL NO. 1
SPORTS FIELD
SITE CLEARANCE ETC
1 | Stripping and removing, debrics, vegetation and any spoil materials including trees not exceeding 200mm girth, bush, etc | m² | 12483
BULK EXCAVATION, FILLING, ETC
2 | Excavatein all materials and use for embankment or fill or dispose as ordered | m³ | 6241.5
Extra over all excavations for carting away
3 | Surplus material from excavations on site to a dumping site to be located by the contractor | m³ | 4681.125
Compaction of surfaces
4 | Scarify earth surface to a depth of 150mm, breaking down oversize material and reconsolidate to 93% Maximum Dry Density | m² | 18025
Soil poisoning and insecticide
5 | Apply emeregent and pre-emergent weed-killer over compacted | m² | 13107.15
Prescribed density tests on filling
6 | Maximum Dry Density test (on Engineer's request only) | No | 15
Drainage
7 | Excavate ground to appropriate fall at 500mm wide x 500mm deep around the sportsfield | m³ | 225
Supply, lay and bed pipes complete with couplings
8 | Form a bidim lined, compacted sub-soil drain with slotted PVC drainpipe- 500mm wide x 500mm deep | m | 900
9 | Junction boxes for sub-soil drains - 400x400 wide x350mm deep | No | 15
Synthetic turf playing surface
Base Course
10 | Laser level soil and compact to 95% MDD. Apply and laser level at depth of 150mm Grade G2 Crusher run from a commercial source and compact to 95% Maximum Dry Density. Apply mix of river sand and cement and laser level at depth of 50mm | m² | 2703.75
Precast concrete kerbs:
11 | Figure 10 including unreinforced concrete haunching at back of each joint including excavation, backfilling, etc | m | 370
Artificial Grass Playing Surface
12 | Supply and install Slide Max Pro 50 GreenFields Synthetic Turf system with a yarn weight of 1311 gr/sqm and comprises of a diamond shaped 365 micron yarn. This system complies with FIFA Quality requirements if tested. This includes installation of all line markings, geotextile membrane, glue, glue tape as well as FIFA required rubber infill. | Item | 1 | 3450000 | 3450000
Line Markings
Permanent line markings with white synthetic turf as per green fields requirements for fitting.
13 | As per FIFA regulation for FUTSAL line markings. | Item | 1
Accessories
14 | Soccer Goal Posts 76mm x 76mm x 2mm wall thickness @ 7,34 meter wide x 2,44 meter high and 0,5 meter deep | No | 2
Pedestrian Fencing
15 | 1.8m high diamond mesh fence around the field | m | 540
16 | Supply, delivery and installation of 3 000mm x 1 800mm high Steel Double leaf swing gate | No | 2
17 | Prime cost amount of R18 000.00 for supply, delivery and installation of u-PVC ducts and sleeves | Item | 1
Sub - Total Carried to Summary

## Combi-Courts-6
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 6
BILL NO. 1
REFURBISHMENT OF 3 X COMBINATION COURTS
Site clearance, etc
1 | Stripping and removing, debris, vegetation and any spoil materials including trees not exceeding 200mm girth, bush, etc | m² | 1140
Combi-courts surface
2 | Prepare existing surface to receive filler treatment | m³ | 2400
3 | Apply crack filler material and prepare surfaces to receive resurfacing | Court | 3
Soil poisoning and insecticide
4 | Apply emeregent and pre-emergent weed-killer over compacted | m² | 720
Apply the resurfacing coating ensuring final surface is completely crack free with no uneven surface and level (all with the reccommeded standard)
5 | Two (2) coats sports surface playcoat (or similar approved) that are suitable for hard outdoor courts | Item | 1 | 180000 | 180000
Line Markings
Permanent line markings with white synthetic turf as per greenfields requirements for fitting.
6 | Multi-purpose court painting | Court | 3
Accessories
7 | Set of Basketball Hoops | No | 1
8 | Set of Netball Poles, with ring and Net. | No | 1
9 | Set of Tennis Court poles with Net | No | 1
10 | Set of Volleyball Poles with Net | No | 1
Fencing
Wire Mesh
11 | Remove damaged existing diamond mesh fencing and dispose | m | 80
Treat and repaint all supports frames including vertical and horizontal members
12 | Remove existing rust, apply 1 coat prime, 2 coats of final paint (green colour) | Court | 3
Replace diamond meshfencing (to match existing height)
Note: Fencing should be constructed of (or covered with) rust resistant material and should be free of protrusions that would increase the risk of injury to players
13 | Fix fence to and fencing to gates | m | 140
14 | Fix fence to gates | No | 3
Scaffhold and support
15 | Allow for scaffhold and all necessary support for the removal and fixing of the fence | Sum | 1
Sub - Total Carried to Summary

## Water
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 7
BILL NO. 1
WATER SUPPLY
Steel sectional water tanks
Tanks shall comply with SABS CKS 114
EARTHWORKS (PIPE TRENCHES)
Excavation in earth not exceeding 2m deep
1 | Pipe Trenches | m³ | 300
Extra-over excavation above for:
2 | Soft rock excavation | m³ | 22
3 | Hard rock excavation | m³ | 8
Extra over all excavations for carting away
4 | Surplus material from trench excavations to a dumping site to be located by the Contractor | m³ | 45
MEDIUM PRESSURE PIPELINES
Supply, lay and bed pipes complete with couplings
5 | 50mm diameter uPVC Class 9 pipes | m | 290
Class 6 uPVC pipes with spigot and socket with rubber ring joint including excavation in earth, bedding, backfilling and compaction and disposal of surplus material
6 | 32mm Diameter pipes laid in and including trenches not exceeding 1m deep, including thrust blocks | m | 340
BEDDING (PIPES)
Provision of Bedding from Trench Excavation
7 | Selected granular material | m³ | 75.6
8 | Selected fill material | m³ | 30.24
ELEVATED WATER TANK PLUS STAND
9 | Supply, deliver and Install 60kL Abeco tank on 10m high Galvanised tower | No |  |  | Rate Only
10 | Provision for Supply and installation of Pressure Pump | No |  |  | Rate Only
PUMP CHAMBER
11 | Construction of precast concrete pump chamber as per drawing … | No | 1
TESTING
12 | Testing water pipe system | Item | 1 | 3500 | 3500
DRINKING FOUNTAINS
13 | Provisional amount of R8 000.00 (Eight Thousand Rand) for drinking fountains | Item | 1 | 5000 | 5000
Sub - Total Carried to Summary

## Sewer
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 7
BILL NO. 2
SEWER RETICULATION
1 | Up to 1.5m | m³ | 182
2 | Over 1.5m up to 2.5m | m³ | 80
Extra-over excavation for:
3 | Soft rock excavation | m³ | 40
4 | Hard rock excavation | m³ | 12
Extra over all excavations for carting away
5 | Surplus material from trench excavations to a dumping site to belocated by the Contractor | m³ | 60
SEWERS
Supply, lay, joint, bed and test 400KPa Main core uPVC sewer pipes manufactured to SABS 1601
6 | 90mm dia. | m | 142
7 | 110mm dia. | m | 98
Extra -over uPVC pipe for specials
8 | 110mm 90 degree plain bend | No | 3
9 | 110mm 45 degree plain bend | No | 2
10 | 110mm 45 degree plain junction | No | 2
11 | 160mm 90 degree plain bend | No | 4
12 | 160mm 45 degree plain bend | No | 3
13 | 160mm 45 degree plain junction | No | 2
MANHOLES
Supply and construct pre-cast concrete manholes, complete with cover and frame and step irons as per drawings within the following depth ranges (depth measured from invert leve lto top of the manhole)
1000mm diameter Manholes
14 | up to 1.5m | No | 3
15 | over 1.5m up to 2.0m | No | 1
BEDDING AND BACKFILLING (PIPES)
Provision of Bedding from Trench Excavation
16 | Selected granular material | m³ | 57.6
17 | Selected fill material | m³ | 23.04
Septic Tank
18 | Provisional amount of R100 000.00 (Hundred Thousand Rands) for construction of a septic tank with all associated ancillary works as per Engineer's designs | Sum | 1 |  | Rate Only
TESTING
19 | Testing drainage pipe system | Item | 1 | 3500 | 3500
20 | Breaking into existing manholes to connect to municipal sewer line | Item | 1 | 12000 | 12000
Sub - Total Carried to Summary

## Fence
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 8
BILL NO 1
FENCING
GALVANISED WELDED MESH FENCE
1 | 2400mm High nominal height invisible fence of galvanised coated high density pressed mesh panels (size12x76mm)of 3mm minimum diameter tensile wires fixed to vertical reinforced tube frame with minimum 5mm thick flat bar complete with sharktooth spikes, inclusive of excavation, 15Mpa 450x450x600mm deep concrete bases, concrete groundbeam, fill material. Complete with all necessary test forfilling, concrete cube sand density test, installation according to manufacturer's instructions. | Item | 1 | 980000 | 980000
Gates
2 | Prime cost amount of R65 000.00 for supply, delivery and installation of 6 000mm x 2 400mm high single leaf sliding gate | Item | 1 | 75000 | 75000
3 | Prime cost amount of R50 000.00 for supply, delivery and installation of 3 000mm x 2 400mm high Double leaf swing gate | Item | 1 | 50000 | 50000
4 | Full height Turnstiles @ R55 000.00 each for supply, delivery and installation | Item | 1 | 55000 | 55000

## Prov Sums
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 9
BILL NO 1
PROVISIONAL SUMS
PROVISIONAL AMOUNTS
Provision of Accredited Training - Generic Skills
1 | Provisional Amount of R120 000.00 (Hundred and Forty Thousand Rand) for the Accredited Training | Item | 1 | 120000 | 120000
2 | Allow for profit if required | % | 120000
3 | Allow for general attendance if required | % | 120000
Signage and Nameplates
4 | Provisional amount of R20 000.00 (Twenty Thousand Rand) for supply and installation of facility sign boards and building name plates | Item | 1 | 20000 | 20000
5 | Allow for profit if required | % | 20000
6 | Allow for general attendance if required | % | 20000
Groundwater Source Development
7 | Provisional amount of R90 000.00 (Ninety Thousand Rand) for "Groundwater Resource: Geohydrological Study for Underground Water (Boreholes)" | Item | 1 | 90000 | 90000
8 | Allow for profit if required | % | 90000
9 | Allow for general attendance if required | % | 90000
Electrical Connections
10 | Provisional amount of R400 000.00 (Four Hundred Thousand ) for "Electrical Connections" | Item | 1 | 400000 | 400000
11 | Allow for profit if required | % | 400000
12 | Allow for general attendance if required | % | 400000
Sub - Total Carried to Summary

## Summary
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
SECTION | DESCRIPTION | AMOUNT
FINAL SUMMARY
1 | Preliminaries and General Items
2 | 2 x Ablution Blocks
3 | Guardhouse
4 | Refurbishment of existing ablutions
5 | Sportsfield
6 | Refurbishment of 3 x Combination Courts
7 | Water Supply (Municipal connection and reticulation)
7 | Sewer Reticulation
8 | Perimeter Fencing including gates
9 | Provisional Sums
TOTAL FOR SCHEDULE OF QUANTITIES

## Tender Sum Form
Molemole Local Municipality
Contract Number: TECH-02/2015/26
Mogwadi Upgrading of Sports Facilities
SECTION | DESCRIPTION | AMOUNT
CALCULATION OF TENDER SUM
1. TOTAL FOR SCHEDULE OF QUANTITIES (brought forward)
2. ADD: CONTINGENCIES The sum provided here is under the sole control of the Employer or Employer’s appointed Agent and may be deducted in whole or in part
SUB TOTAL
ADD VALUE ADDED TAX @ 15%
TOTAL TENDER SUM CARRIED FORWARD TO FORM OF OFFER