## Preliminary and General
Molemole Local Municipality
Contract Number: TECH-003-2025/27
Mogwadi Upgrading of Sports Facilities Phase 2
Item | Payment | Short Description | Unit | Quantity | Rate | Amount
No. | Refers
| SABS | SCHEDULE 1: PRELIMINARY AND GENERAL
1 | 1200AA | GENERAL (SMALL WORKS)
1.1 | 8.3 | Fixed charge items
1.1.1 | 8.3.1 | Contractual requirements | Sum | 1
1.1.2 | 8.3.2 | Provision for facilities on site
|  | (a) Facilities required by contractor | Sum | 1
|  | (b) Facilities required by Engineer | Sum | 1
|  | (c) Provision of contract signboard to Drawing | No | 1
1.1.3 | 8.3.3 | General responsibilities and other fixed charged items | Sum | 1 |  | Rate Only
1.1.4 | 8.3.4 | Removal of site establishment | Sum | 1
1.2 | 8.4 | Time-related items
1.2.1 | 8.4.1 | Contractual requirements | Sum | 1
1.2.2 | 8.4.2 | Operating and maintaining of facilities on site
|  | (a) Facilities for the Engineer | Sum | 1
|  | (b) Facilities for the Contractor | Sum | 1
1.2.3 | 8.4.3 | General responsibilities and other time related obligations | Sum | 1 |  | Rate Only
1.2.4 | PSA 5.5 | Dealing with water (dewatering of excavations etc.) | Sum | 1
1.3 | 8.7 | Provisional sums, price cost items and dayworks
1.3.1 |  | Community Liaison Officer | Prov Sum | 1 | 36000 | 36000
1.3.1.1 |  | Percentage adjustment to item 1.3.1 | % | 36000
1.3.2 |  | Project Steering Committee Allowence | Prov Sum | 1 | 16000 | 16000
1.3.3 |  | Provision of a cellular phone and airtime for the engineer | Sum | 1 | 12000 | 12000
1.3.3.1 |  | Percentage adjustment to item 1.3.2 | % | 12000
1.3.4 |  | Health and Safety Plan | Sum | 1
1.3.5 |  | Implementation of health and safety plan | Sum | 1
1.3.6 |  | Accommodation for the Engineer | Prov Sum | 1 | 40000 | 40000
1.3.6.1 |  | Percentage adjustment to item 1.3.4 | % | 40000
Sub - Total Carried to Summary

## Ablution Facilities x2
Molemole Local Municipality
Contract Number: TECH-003-2025/27
Mogwadi Upgrading of Sports Facilities Phase 2
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO. 2
ABLUTIONS x 2 BLOCKS
BILL NO. 1
FOUNDATIONS (PROVISIONAL)
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
1 | Trenches | m³ | 58
Extra over trench and hole excavations in earth for excavation in
2 | Soft rock | m³ | 6
3 | Hard rock | m³ | 3
Extra over all excavations for carting away
4 | Surplus material from excavations on site to a dumping site to be located by the contractor | m³ | 25
Risk of collapse of excavations
5 | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 187
Keeping excavations free of water
6 | Keeping excavations free of water | Item | 2
Earth filling obtained from the excavations and/or prescribed stockpiles on site including compacted to 93% Mod AASHTO density
7 | Under floors, steps, paving, etc | m³ | 8
8 | Backfilling to trenches, holes, etc | m³ | 25
Earth filling obtained from commercial source
9 | Under floors, steps, paving, etc | m³ | 10
Compaction of surfaces
10 | Compaction of ground surface under floors etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Maximum Dry Density | m² | 116
11 | Ditto, but under aprons, etc. | m² | 73
Prescribed density tests on filling
12 | Modified AASHTO Density test | No | 5
SOIL POISONING
Soil poisoning and insecticide
13 | Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m² | 116
14 | Under aprons | m² | 73
15 | To bottoms and sides of trenches etc | m² | 260
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
Hand mixing of concrete will not be allowed
16 | 25MPa/19mm concrete | m³ | 19
REINFORCEMENT
Mild steel reinforcement to structural concrete work
17 | 10mm Diameter bars | t | 2
High tensile steel reinforcement to structural concrete work
18 | 12mm Diameter bars | t | 1
TEST CUBES
10 | Allow for preparing asetofthreeconcretestrengthtestcubes,eachsize150x150x150mm,sendingthemtoanapprovedTestingLaboratoryfortestingandpayingallchargesinconnectiontherewith(one block to be tested after 7 days). | sets | 5
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
BRICKWORK IN FOUNDATIONS
Brickwork of NFP bricks in class II mortar
20 | One brick walls | m² | 64
BRICKWORK SUNDRIES
Brickwork reinforcement
21 | 150mm Wide reinforcement built in horizontally | m | 320
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R7000,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
22 | Extra over brickwork for face brickwork | m² | 20
BILL NO.2
CONCRETE, FORMWORK AND REINFORCEMENT
UNREINFORCED CONCRETE
20MPa/19mm concrete
1 | Aprons cast in panels | m³ | 12
2 | Ramp | m³ | 1
REINFORCED CONCRETE
30MPa concrete
3 | Surface beds cast in panels on waterproofing. | m³ | 11
4 | Allow for preparing a set of three concrete strength test cubes, each size 150x150x150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | sets | 5
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a steel trowel
5 | Surface beds, slabs, etc | m² | 116
Finishing top surfaces of concrete smooth with a wood trowel
6 | Aprons to falls | m² | 73
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
ROUGH FORMWORK (DEGREE OF ACCURACY III)
Rough formwork to sides:
7 | Edges, risers, etc. not exceeding 300mm high or wide | m | 80
MOVEMENT JOINTS ETC
Expansionjointswithbitumenimpregnatedsoftboardbetweenvertical concrete and brick surfaces
8 | 12mm Joints not exceeding 300mm high (Provisional) | m | 30
Saw cut
9 | 4 x 30mm Deep saw cut joint in concrete floor | m | 55
Mesh reinforcement:
10 | Ref 395 Mesh steel fabric reinforcement laid in surface beds, etc. lapped minimum 150mm along edges and ends (Measured net) | m² | 116
BILL NO. 3
MASONRY
SUPERSTRUCTURE
BRICKWORK SUNDRIES
Reinforced precast concrete lintels
1 | Standard 110mm wide x75mm high approved reinforced precast concrete lintel not exceeding 3m long, with ends built into brickwork in cement mortar including propping | m | 45
Brickwork reinforcement
2 | 75mm Wide reinforcement built in horizontally | m | 150
3 | 150mm Wide reinforcement built in horizontally | m | 492
Galvanised wire ties etc
4 | 1,6mm Thick galvanised roof tie, 32mm wide, 1.2m girth bent double zig-zag, with one end built into brickwork minimum 6 courses deep and other end wrapped overtimber truss and fixed with four gavanised nails, 40mm long. | No | 80
FIBRE-CEMENT WINDOW SILLS
Natural grey sills in single lengths bedded in cement mortar, including metal fixing lugs, etc
5 | 14 x 150mm Wide sills set flat and slightly projecting | m | 25
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R7000,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
6 | Half brick walls faced both sides | m² | 101
7 | One Brickwall faced both sides | m² | 256
BILL NO. 4
WATERPROOFING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
DAMP PROOFING
One layer 250 micron "Gunplas USB Green" polyethylene waterproofing:
1 | On compacted earth under concrete surface beds, lapped 150mm and sealed at all joints (measured net). | m² | 116
One layer 375 micron embossed "Gunplas Brikgrip" polyethylene damp proof course fixed with approved adhesive:
2 | Horizontally in walls | m² | 19
3 | Vertically in walls | m² | 2
BILL NO. 5
ROOF COVERINGS ETC
NOTE: Tenderers are advised to study the "Model Preambles for Trades (1999 edition) published by the Association of South African Quantity Sureveyors before pricing this bill
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
PROFILED METAL SHEETING AND ACCESSORIES
Note The Contractor is to submit and handover to the Representative/Agent a certificate signed by the merchant, stating that the galvanised roof covering supplied complies with the required thickness specified The Contractor is to supply and handover to the Representative/Agent by completion a written gaurantee, stating that all the roofswithsheets and accessories to be waterproof for a minimum period of one year, calculated from the final delivery date
0,55mm Thick IBR profiled galvanised roof sheeting, G550 ISQ550 with "Chromadek" Charcoal grey finish to one side and half coat Classicoat Grey other side and accessories fixed to timber purlings.
1 | Roof covering with pitch not exceeding 25 degrees | m² | 156
2 | Barge flashing 375mm girth | m | 30
ROOF INSULATION
Sisalation 410 housing grade glass fibre reinforced aluminium foil bonded insulation
3 | Insulation laid out over rafters (at approximately 1200mm centres) and fixed concurrent with tiling battens, purlins, etc | m² | 190
BILL NO. 6
CEILINGS, PARTITIONS AND ACCESS FLOORING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
CEILING CONSTRUCTION, CORNICES, ETC.
Insulation
1 | 50mm glass fibre insulation blanket to manufacturer's specification, laid on ceiling. | m² | 116
Wrought meranti
2 | 19 x 76mm Cornices nailed | m | 231
NAILED UP AND SCREWED UP CEILINGS
6mm Gypsum plastered board
3 | Ceilings including 38x38mm brandering at 90 deg to trusses at maximum centres of 400mm by 32mm long galvanised nails. | m² | 116
4 | Extra over ceiling for opening for 610x610mm trap door of 50x76mm wrought softwood rebated framing with one 38x38mm sawn softwood crossbrander covered with ceiling board and fitted flushing opening | No | 2
BILL NO. 7
CARPENTRY AND JOINERY
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
ROOFS, ETC
1 | Roof construction (Refer to drawings for details) | m² | 190
DOORS,ETC
44mm Solid core doors (Refer to drawings)
2 | Door 813 x 2032mm high (D1) | No | 2
3 | Door 813 x 2032mm high (D2) | No | 2
4 | Door 813 x 1932mm high with 150mm undercut (D3) | No | 10
5 | Door 913x 2032mm high (D4) | No | 4
6 | Door 813 x 2032mm high (D5) | No | 2
BILL NO. 8
IRONMONGERY
CATCHES, CABIN HOOKS, ETC
In accordance with "Approved" catalogue
1 | 75mm cabin hook and eye | No | 4
LOCKS
Unless otherwise described locks shall have two keys each
EN-SUITE LOCKS
The following locks are to be suitable for master key operation
In accordance with "Approved" catalogue
2 | 100mm padlock, with two keys | No | 1
3 | four-lever lockset with striking plate fixed to metal, and two keys | No | 20
HANDLES
In accordance with approved catalogue
4 | Install chrome plated pair of handles | No | 20
LETTERS, NAME PLATES, ETC
Approved 150 x 150 x 3mm thick PVC standard safety signage
5 | Fire extinguisher sign plugged | No | 2
6 | Toilet sings | No | 15
HINGES, BOLTS, ETC
7 | 100mm hinges | No | 10
8 | 160mm Stainless steel flush bolt. (Provisional) | No | 1
BATHROOM FITTINGS
Approved
9 | Polishedstainlesssteelsingletowelrail,size900x55mmdeepplugged and screwed to wall with stainless steel screws | No | 2
10 | Polishedstainlesssteeldoublearmsoaprack,size163x100mmdeepplugged and screwed to wall with stainless steel screws | No | 2
11 | Sparerollandlockablesteeltoilettissuedipenser,sizesuitableforthreetissues,pluggedandscrewedtowallwithstainlesssteelscrews.(Provisional) | No | 2
12 | Wallbinplastic40Litrecapacity,pluggedandscrewedtowallwithstainless steel screws | No | 2
Sundries
Approved
13 | Stainless half-round door stop screw and plug to floor. | No | 2
14 | 38mmdiameterrubberdoor-stopscrewedandplugedtowall/floor.(Provisional) | No | 2
BILL NO. 9
METALWORK
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WELDED SCREENS, GATES, ETC
The following in framed and welded mild steel security gates and fixing in position complete
1 | Single gate and frame 1x2032mm high of 25x25x2m hollow section frame an 25x25x2mm hollow section horizontal middle rail filled in with 12x12mm square section vertical rails at 75mm centre sand fitted with a pair of suitable hinges welded to frame of 25x25x2mm hollow section welded frame bolted to brickwork, by specialist. | No | 2
PRESSED STEEL DOOR FRAMES
1,2mm Thick single rebated door frame suitable for 115mm brickwall
2 | Frame for door 815 x 2032mm high | No | 18
3 | Frame for door 915 x 2032mm high | No | 2
1,2mm Thick single rebated door frame suitable for 230mm brickwall
ALUMINIUM WINDOWS, DOORS, ETC
Standard aluminium windows with 4mm float glass and ironmongery.
4 | Window type E1, size 533 x 654mm high (refer to drawings) | No | 16
5 | Window type E2, size 1022 x 654mm high (refer to drawings) | No | 14
BILL NO. 10
PLASTERING
SUPPLEMENTARY PREAMBLES
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
SCREEDS
Screeds on concrete
1 | 30mm Thick on floors and landings | m² | 123
BILL NO. 11
TILING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WALL TILES
Ceramic wall tiles (PC amount R250/m2) glued to plaster (elsewhere) with approved adhesive to:
1 | To walls | m² | 116
2 | Skirting formed of ceramic tile cut to 300 x 100mm high | m | 231
BILL NO. 12
PLUMBING (PROVISIONAL))
SOIL DRAINAGE
uPVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction
Vertical fixed to wall :
7 | 40mm pipe | m | 15
8 | 110mm pipe | m | 25
PVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction and including excavation not exceeding 1,5m, risk of collapse, soilpoisoning, backfilling.
Chased into wall and concrete : Horizontal
9 | 40mm pipe | m | 35
10 | 110mm pipe | m | 6
Extra over PVC pipes for
11 | 110mm Stop End | No | 10
12 | 110mm bend | m | 10
13 | Pan connector | No | 24
14 | Roding Eye Y-junction and uPVC cover screwed on. | No | 10
15 | 40 x 110mm Reducing Junction | No | 10
16 | 110mm Y-Junction | No | 10
Gulleys
17 | 100mm Gulley trap, including head and U-PVC circular head and grating, excavation not exceeding 2mm deep | No | 4
SLEEVES, ETC
18 | 110mm PVC sleeve pipe and excavations not exceeding 1.5m deep, risk of collapse, backfilling, scattering available, etc. | m | 30
SANITARY FITTINGS
19 | Basin, size 585x435mm plugged and screwed to walls with two screws including chromium plated caps and sealed with silicone sealant where basin meets wall. | No | 16
20 | Water-closet, back to wall wash down suite comprising 90 degrees outlet closed rimback inlet pan and concealed flushing valve (elsewhere) including lid and fitments with seat. | No | 10
21 | Disabled Water-closet, back to wall wash down suite comprising 90 degrees outlet closed rimback inlet pan and concealed flushing valve (elsewhere) including lid and fitments with seat. | No | 4
22 | Shower Complete with taps,waste, etc | No | 2
23 | Urinals Complete with flushmuster | No | 8
TRAPS, ETC
24 | Basin waste, 40mm outlet and back-nut, plug and chain , un-slotted | No | 14
25 | Basin bottle-trap and arm, 40mm chromium plated | No | 14
SANITARY PIPEWORK
uPVCwastewaterpipesincludingshortlengths,cutting,etcandjointed in accordance with the manufacturer's instruction
Horizontal fxed to wall:
26 | 40mm pipe | m | 20
27 | 110mm Pipe | m | 20
Extra over PVC pipes for
28 | 40mm Pipes fixed to walls or slabs | m | 20
29 | 40mm T-joint | No | 20
30 | 110mm Pipes fixed to walls | m | 20
Extra over for
31 | 40mm Inspection Eye Bend | No | 20
32 | 110mm Stop End | No | 20
33 | 110mm Vent Horn Bend | No | 20
Sundries
34 | Allow for the test of the complete sanitary pipework | Sum | 1
WATER SUPPLY
Hard drawn copper tube water pipes with capillary type copper tube fittings, including short lengths, cutting, plain sockets and jointing
Class 0
35 | 15mm Pipes and fixing in and including chase in brick work | m | 40
36 | 22mm Pipe | m | 30
Class 2
37 | 22mm Pipe | m | 12
Extra over copper pipes for capillary fittings
Class 0
38 | 15mm Fittings | No | 25
39 | 22mm Fittings | No | 10
Flexible service pipes
40 | Flexiblehose, 15mm braided service pipe 380mm girth including two chromium plated screw caps and linings complete | No | 1
41 | Flexiblehose, 15mm braided service pipe 150mm girth including two chromium plated screw caps and linings complete | No | 2
Sundries
42 | Extra over excavation in earth for pipe trenches, chambers, etc for excavation in soft rock | m³ | 3
Brick inspection chambers including benching (covers and channels elsewhere)
43 | 400 x 400mm Inspection chamber 100mm deep internally | No | 1
Cast iron covers etc
44 | 265 x 265mm seal manhole cover and frame | No | 1
Galvanised steel pipes with screwed and socketed joints
45 | 22mm Pipes | No | 1
Extra over galvanised steel pipes with screwed and socketed joints for brass fittings
46 | 22mm Fittings | No | 1
TAPS, VALVES, ETC
Brass valves, taps, etc. including joints to copper pipes and/orfittings
47 | 22mm Brass hose bib-tap | No | 2
48 | 15mm brass in-line strainer | No | 2
49 | 15mm Ball-o-stop valve | No | 2
50 | 20mm Fullway ball cock with plastic coated mild steel lever handle | No | 2
51 | Inlet and Outlet pressure control valve 2500/400KPa | No | 1
Chromium plated valves, taps, etc. including joints to copper pipes and/or fittings
52 | Pillar tap, push-button 15mm chrome plated, with aerator for indicating hot/cold. | No | 15
Approved
| Angle valve, 15mm chromium plated | No | 2
Sundry
53 | Excavation in earth not exceeding 1m deep for pipe trenches, including risk of collapse, bedding, and backfilling | No | 2
Flush valves, etc
54 | Flushvalve, 20mm rough brass concealed Water-Closetstandardwithverticalbrassandhorizontalchromeplatedbackentryflushpipe,elbowconnector, palm press push button, rubber pan connector, integral vacuum breaker, control stop and adjustable telescopic connection. | No | 2
BILL NO. 13
GLAZING
Glazing to steel sashes fixed with approved putty:
Clear glass and glazed (Provisional)
1 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m 2 and not exceeding 2m2 | No | 15
Obscure glass
2 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m2 and not exceeding 2m2 | No | 3
MIRRORS
3 | 6mmFloatglassmultiplesilveredmirrorsize300x450mmwithpolishedandbevellededges,holedandscrewedwithfourchromiumplateddomeheadedscrewswithrubberspacerwashersbehind,toand including hardwood plugs in wall. | No | 8
BILL NO 14
PAINTWORK
PAINTWORK, ETC TO NEW WORK ON
ON FIBRE-CEMENT
One coat primer, one coat universal under coat and two coats "Dulux" super acrylic PVA paint
1 | On ceilings | m2 | 116
WOOD SURFACES WITH
One coat Plascon merit universal under coat, and two coats Plascon Velveglo polyrethane velvet enamel paint on
2 | Doors | m² | 28
Three coats Plascon Woodcare coloured varnish on
3 | Cornice, rails, etc not exceeding 300mm girth | m² | 10
METAL SURFACES
Prepare, touch up redoxide factory primer, one coat Plascon merit universal under coat and two coats Plascon Velvaglo Polyurethane enamel paint
4 | Door frames, etc | m² | 15
5 | Steel gates | m² | 2
6 | On members of roof trusses (Provisional) | m² | 3
7 | On rails, bars, pipes, etc not exceeding 300 mm girth | m² | 10
BUDGETARY ALLOWANCE
| Allow the amount of R150 000 (One Hundred and Fifty Thousands) for Electrical works | Item | 1 | 150000 | 150000
Sub - Total Carried to Summary

## Guard House
Molemole Local Municipality
Contract Number: TECH-003-2025/27
Mogwadi Upgrading of Sports Facilities Phase 2
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO. 3
GUARD HOUSE
BILL NO. 1
FOUNDATIONS (PROVISIONAL)
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
1 | Trenches | m³ | 15
| Hole | m³ | 2
Extra over trench and hole excavations in earth for excavation in
2 | Soft rock | m³ | 2
3 | Hard rock | m³ | 1
Extra over all excavations for carting away
4 | Surplus material from excavations on site to a dumping site to be located by the contractor | m³ | 5
Risk of collapse of excavations
5 | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 54
Keeping excavations free of water
6 | Keeping excavations free of water | Item | 1
Earth filling obtained from the excavations and/or prescribed stockpiles on site including compacted to 93% Mod AASHTO density
7 | Under floors, steps, paving, etc | m³ | 7
8 | Backfilling to trenches, holes, etc | m³ | 5
Earth filling obtained from commercial source
9 | Under floors, steps, paving, etc | m³ | 5
Compaction of surfaces
10 | Compaction of ground surface under floors etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Maximum Dry Density | m² | 32
11 | Ditto, but under aprons, etc. | m²
Prescribed density tests on filling
12 | Modified AASHTO Density test | No | 2
SOIL POISONING
Soil poisoning and insecticide
13 | Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m² | 32
14 | Under aprons | m²
15 | To bottoms and sides of trenches etc | m² | 62
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
Hand mixing of concrete will not be allowed
16 | 25MPa/19mm concrete | m³ | 5
REINFORCEMENT
Mild steel reinforcement to structural concrete work
17 | 10mm Diameter bars | t | 1
High tensile steel reinforcement to structural concrete work
18 | 12mm Diameter bars | t
TEST CUBES
10 | Allow for preparing asetofthreeconcretestrengthtestcubes,eachsize150x150x150mm,sendingthemtoanapprovedTestingLaboratoryfortestingandpayingallchargesinconnectiontherewith(one block to be tested after 7 days). | sets | 1
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
BRICKWORK IN FOUNDATIONS
Brickwork of NFP bricks in class II mortar
20 | One brick walls | m² | 14
| Piers | m³ | 1
BRICKWORK SUNDRIES
Brickwork reinforcement
21 | 150mm Wide reinforcement built in horizontally | m | 72
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R7000,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
22 | Extra over brickwork for face brickwork | m² | 5
BILL NO.2
CONCRETE, FORMWORK AND REINFORCEMENT
REINFORCED CONCRETE
30MPa concrete
1 | Surface beds cast in panels on waterproofing. | m³ | 4
2 | Allow for preparing a set of three concrete strength test cubes, each size 150x150x150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | sets | 1
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a steel trowel
3 | Surface beds, slabs, etc | m² | 32
Finishing top surfaces of concrete smooth with a wood trowel
4 | Aprons to falls | m²
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
ROUGH FORMWORK (DEGREE OF ACCURACY III)
Rough formwork to sides:
5 | Edges, risers, etc. not exceeding 300mm high or wide | m | 10
MOVEMENT JOINTS ETC
Expansionjointswithbitumenimpregnatedsoftboardbetweenvertical concrete and brick surfaces
6 | 12mm Joints not exceeding 300mm high (Provisional) | m | 5
Saw cut
7 | 4 x 30mm Deep saw cut joint in concrete floor | m | 10
Mesh reinforcement:
8 | Ref 395 Mesh steel fabric reinforcement laid in surface beds, etc. lapped minimum 150mm along edges and ends (Measured net) | m² | 32
BILL NO. 3
MASONRY
SUPERSTRUCTURE
BRICKWORK SUNDRIES
Reinforced precast concrete lintels
1 | Standard 110mm wide x75mm high approved reinforced precast concrete lintel not exceeding 3m long, with ends built into brickwork in cement mortar including propping | m | 20
Brickwork reinforcement
2 | 75mm Wide reinforcement built in horizontally | m | 20
3 | 150mm Wide reinforcement built in horizontally | m | 80
Galvanised wire ties etc
4 | 1,6mm Thick galvanised roof tie, 32mm wide, 1.2m girth bent double zig-zag, with one end built into brickwork minimum 6 courses deep and other end wrapped overtimber truss and fixed with four gavanised nails, 40mm long. | No | 23
FIBRE-CEMENT WINDOW SILLS
Natural grey sills in single lengths bedded in cement mortar, including metal fixing lugs, etc
5 | 14 x 150mm Wide sills set flat and slightly projecting | m | 4
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R7000,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
6 | Piers | m3 | 2
7 | Half brick walls faced both sides | m² | 8
8 | One Brickwall faced both sides | m² | 68
BILL NO. 4
WATERPROOFING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
DAMP PROOFING
One layer 250 micron "Gunplas USB Green" polyethylene waterproofing:
1 | On compacted earth under concrete surface beds, lapped 150mm and sealed at all joints (measured net). | m² | 32
One layer 375 micron embossed "Gunplas Brikgrip" polyethylene damp proof course fixed with approved adhesive:
2 | Horizontally in walls | m² | 6
3 | Vertically in walls | m² | 2
BILL NO. 5
ROOF COVERINGS ETC
NOTE: Tenderers are advised to study the "Model Preambles for Trades (1999 edition) published by the Association of South African Quantity Sureveyors before pricing this bill
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
PROFILED METAL SHEETING AND ACCESSORIES
Note The Contractor is to submit and handover to the Representative/Agent a certificate signed by the merchant, stating that the galvanised roof covering supplied complies with the required thickness specified The Contractor is to supply and handover to the Representative/Agent by completion a written gaurantee, stating that all the roofswithsheets and accessories to be waterproof for a minimum period of one year, calculated from the final delivery date
0,55mm Thick IBR profiled galvanised roof sheeting, G550 ISQ550 with "Chromadek" Charcoal grey finish to one side and half coat Classicoat Grey other side and accessories fixed to timber purlings.
1 | Roof covering with pitch not exceeding 25 degrees | m² | 54
2 | Barge flashing 375mm girth | m | 8
ROOF INSULATION
Sisalation 410 housing grade glass fibre reinforced aluminium foil bonded insulation
3 | Insulation laid out over rafters (at approximately 1200mm centres) and fixed concurrent with tiling battens, purlins, etc | m² | 54
BILL NO. 6
CEILINGS, PARTITIONS AND ACCESS FLOORING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
CEILING CONSTRUCTION, CORNICES, ETC.
Insulation
1 | 50mm glass fibre insulation blanket to manufacturer's specification, laid on ceiling. | m² | 32
Wrought meranti
2 | 19 x 76mm Cornices nailed | m | 38
NAILED UP AND SCREWED UP CEILINGS
6mm Gypsum plastered board
3 | Ceilings including 38x38mm brandering at 90 deg to trusses at maximum centres of 400mm by 32mm long galvanised nails. | m² | 32
4 | Extra over ceiling for opening for 610x610mm trap door of 50x76mm wrought softwood rebated framing with one 38x38mm sawn softwood crossbrander covered with ceiling board and fitted flushing opening | No | 1
BILL NO. 7
CARPENTRY AND JOINERY
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
ROOFS, ETC
1 | Roof construction (Refer to drawings for details) | m² | 54
DOORS,ETC
44mm Solid core doors (Refer to drawings)
2 | Door 813 x 2032mm high (D1) | No | 2
3 | Door 869 x 2032mm high (D2) | No | 1
BILL NO. 8
IRONMONGERY
CATCHES, CABIN HOOKS, ETC
In accordance with "Approved" catalogue
1 | 75mm cabin hook and eye | No | 2
LOCKS
Unless otherwise described locks shall have two keys each
EN-SUITE LOCKS
The following locks are to be suitable for master key operation
In accordance with "Approved" catalogue
2 | 100mm padlock, with two keys | No | 1
3 | four-lever lockset with striking plate fixed to metal, and two keys | No | 3
HANDLES
In accordance with approved catalogue
4 | Install chrome plated pair of handles | No | 3
LETTERS, NAME PLATES, ETC
Approved 150 x 150 x 3mm thick PVC standard safety signage
5 | Fire extinguisher sign plugged | No | 1
6 | Toilet sings | No | 1
HINGES, BOLTS, ETC
7 | 100mm hinges | No | 1
8 | 160mm Stainless steel flush bolt. (Provisional) | No | 1
BATHROOM FITTINGS
Approved
12 | Wallbinplastic40Litrecapacity,pluggedandscrewedtowallwithstainless steel screws | No | 1
Sundries
Approved
13 | Stainless half-round door stop screw and plug to floor. | No | 1
14 | 38mmdiameterrubberdoor-stopscrewedandplugedtowall/floor.(Provisional) | No | 1
BILL NO. 9
METALWORK
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WELDED SCREENS, GATES, ETC
The following in framed and welded mild steel security gates and fixing in position complete
1 | Single gate and frame 1x2032mm high of 25x25x2m hollow section frame an 25x25x2mm hollow section horizontal middle rail filled in with 12x12mm square section vertical rails at 75mm centre sand fitted with a pair of suitable hinges welded to frame of 25x25x2mm hollow section welded frame bolted to brickwork, by specialist. | No | 1
PRESSED STEEL DOOR FRAMES
1,2mm Thick single rebated door frame suitable for 115mm brickwall
2 | Frame for door 815 x 2032mm high | No | 3
ALUMINIUM WINDOWS, DOORS, ETC
Standard aluminium windows with 4mm float glass and ironmongery. (Refer to drawings)
4 | Window size 2760 x 1190mm high | No | 1
5 | Window size 580 x 1190mm high | No | 2
4 | Window size 580 x 580mm high | No | 1
5 | Window size 1022 x 654mm high | No | 1
BILL NO. 10
PLASTERING
SUPPLEMENTARY PREAMBLES
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
SCREEDS
Screeds on concrete
1 | 30mm Thick on floors and landings | m² | 32
BILL NO. 11
TILING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WALL TILES
Ceramic wall tiles (PC amount R250/m2) glued to plaster (elsewhere) with approved adhesive to:
1 | To walls | m² | 32
2 | Skirting formed of ceramic tile cut to 300 x 100mm high | m | 38
BILL NO. 12
PLUMBING (PROVISIONAL))
SOIL DRAINAGE
uPVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction
Vertical fixed to wall :
1 | 40mm pipe | m | 5
2 | 110mm pipe | m | 5
PVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction and including excavation not exceeding 1,5m, risk of collapse, soilpoisoning, backfilling.
Chased into wall and concrete : Horizontal
3 | 40mm pipe | m | 5
4 | 110mm pipe | m | 2
Extra over PVC pipes for
5 | 110mm Stop End | No | 2
6 | 110mm bend | m | 4
7 | Pan connector | No | 1
8 | Roding Eye Y-junction and uPVC cover screwed on. | No | 1
9 | 40 x 110mm Reducing Junction | No | 1
10 | 110mm Y-Junction | No | 1
Gulleys
11 | 100mm Gulley trap, including head and U-PVC circular head and grating, excavation not exceeding 2mm deep | No | 1
SLEEVES, ETC
12 | 110mm PVC sleeve pipe and excavations not exceeding 1.5m deep, risk of collapse, backfilling, scattering available, etc. | m | 10
SANITARY FITTINGS
13 | Basin, size 585x435mm plugged and screwed to walls with two screws including chromium plated caps and sealed with silicone sealant where basin meets wall. | No | 1
14 | Water-closet, back to wall wash down suite comprising 90 degrees outlet closed rimback inlet pan and concealed flushing valve (elsewhere) including lid and fitments with seat. | No | 1
TRAPS, ETC
15 | Basin waste, 40mm outlet and back-nut, plug and chain , un-slotted | No | 1
16 | Basin bottle-trap and arm, 40mm chromium plated | No | 2
SANITARY PIPEWORK
uPVCwastewaterpipesincludingshortlengths,cutting,etcandjointed in accordance with the manufacturer's instruction
Horizontal fxed to wall:
17 | 40mm pipe | m | 10
18 | 110mm Pipe | m | 10
Extra over PVC pipes for
19 | 40mm Pipes fixed to walls or slabs | m | 10
20 | 40mm T-joint | No | 1
21 | 110mm Pipes fixed to walls | m | 5
Extra over for
22 | 40mm Inspection Eye Bend | No | 3
23 | 110mm Stop End | No | 3
24 | 110mm Vent Horn Bend | No | 3
Sundries
25 | Allow for the test of the complete sanitary pipework | Sum | 1
WATER SUPPLY
Hard drawn copper tube water pipes with capillary type copper tube fittings, including short lengths, cutting, plain sockets and jointing
Class 0
26 | 15mm Pipes and fixing in and including chase in brick work | m | 10
27 | 22mm Pipe | m | 9
Class 2
28 | 22mm Pipe | m | 9
Extra over copper pipes for capillary fittings
Class 0
29 | 15mm Fittings | No | 4
30 | 22mm Fittings | No | 4
Flexible service pipes
31 | Flexiblehose, 15mm braided service pipe 380mm girth including two chromium plated screw caps and linings complete | No | 1
32 | Flexiblehose, 15mm braided service pipe 150mm girth including two chromium plated screw caps and linings complete | No | 2
Sundries
33 | Extra over excavation in earth for pipe trenches, chambers, etc for excavation in soft rock | m³ | 3
Brick inspection chambers including benching (covers and channels elsewhere)
34 | 400 x 400mm Inspection chamber 100mm deep internally | No | 1
Cast iron covers etc
35 | 265 x 265mm seal manhole cover and frame | No | 1
Galvanised steel pipes with screwed and socketed joints
36 | 22mm Pipes | No | 1
Extra over galvanised steel pipes with screwed and socketed joints for brass fittings
37 | 22mm Fittings | No | 1
TAPS, VALVES, ETC
Brass valves, taps, etc. including joints to copper pipes and/orfittings
38 | 22mm Brass hose bib-tap | No | 1
39 | 15mm brass in-line strainer | No | 1
40 | 15mm Ball-o-stop valve | No | 1
41 | 20mm Fullway ball cock with plastic coated mild steel lever handle | No | 1
42 | Inlet and Outlet pressure control valve 2500/400KPa | No | 1
Chromium plated valves, taps, etc. including joints to copper pipes and/or fittings
43 | Pillar tap, push-button 15mm chrome plated, with aerator for indicating hot/cold. | No | 1
Approved
| Angle valve, 15mm chromium plated | No | 1
Sundry
44 | Excavation in earth not exceeding 1m deep for pipe trenches, including risk of collapse, bedding, and backfilling | No | 1
Flush valves, etc
45 | Flushvalve, 20mm rough brass concealed Water-Closetstandardwithverticalbrassandhorizontalchromeplatedbackentryflushpipe,elbowconnector, palm press push button, rubber pan connector, integral vacuum breaker, control stop and adjustable telescopic connection. | No | 1
BILL NO. 13
GLAZING
Glazing to steel sashes fixed with approved putty:
Clear glass and glazed (Provisional)
1 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m 2 and not exceeding 2m2 | No | 7
Obscure glass
2 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m2 and not exceeding 2m2 | No | 2
MIRRORS
3 | 6mmFloatglassmultiplesilveredmirrorsize300x450mmwithpolishedandbevellededges,holedandscrewedwithfourchromiumplateddomeheadedscrewswithrubberspacerwashersbehind,toand including hardwood plugs in wall. | No | 1
BILL NO 14
PAINTWORK
PAINTWORK, ETC TO NEW WORK ON
ON FIBRE-CEMENT
One coat primer, one coat universal under coat and two coats "Dulux" super acrylic PVA paint
1 | On ceilings | m2 | 32
WOOD SURFACES WITH
One coat Plascon merit universal under coat, and two coats Plascon Velveglo polyrethane velvet enamel paint on
2 | Doors | m² | 8
Three coats Plascon Woodcare coloured varnish on
3 | Cornice, rails, etc not exceeding 300mm girth | m² | 4
METAL SURFACES
Prepare, touch up redoxide factory primer, one coat Plascon merit universal under coat and two coats Plascon Velvaglo Polyurethane enamel paint
4 | Door frames, etc | m² | 4
5 | Steel gates | m² | 3
6 | On members of roof trusses (Provisional) | m² | 3
7 | On rails, bars, pipes, etc not exceeding 300 mm girth | m² | 10
BUDGETARY ALLOWANCE
| Allow the amount of R42 000 (Forty-Two Thousands) for Electrical works | Item | 1 | 42000 | 42000
Sub - Total Carried to Summary

## Change Rooms
Molemole Local Municipality
Contract Number: TECH-003-2025/27
Mogwadi Upgrading of Sports Facilities Phase 2
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO. 4
DRESSING ROOMS
BILL NO. 1
FOUNDATIONS (PROVISIONAL)
EXCAVATION, FILLING, ETC
Excavation in earth not exceeding 2m deep
1 | Trenches | m³ | 81
Extra over trench and hole excavations in earth for excavation in
2 | Soft rock | m³ | 6
3 | Hard rock | m³ | 3
Extra over all excavations for carting away
4 | Surplus material from excavations on site to a dumping site to be located by the contractor | m³ | 48
Risk of collapse of excavations
5 | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 270
Keeping excavations free of water
6 | Keeping excavations free of water | Item | 1
Earth filling obtained from the excavations and/or prescribed stockpiles on site including compacted to 93% Mod AASHTO density
7 | Under floors, steps, paving, etc | m³ | 72
8 | Backfilling to trenches, holes, etc | m³ | 23
Earth filling obtained from commercial source
9 | Under floors, steps, paving, etc | m³ | 72
Compaction of surfaces
10 | Compaction of ground surface under floors etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Maximum Dry Density | m² | 240
11 | Ditto, but under aprons, etc. | m² | 110
Prescribed density tests on filling
12 | Modified AASHTO Density test | No | 5
SOIL POISONING
Soil poisoning and insecticide
13 | Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m² | 240
14 | Under aprons | m² | 110
15 | To bottoms and sides of trenches etc | m² | 84
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
Hand mixing of concrete will not be allowed
16 | 25MPa/19mm concrete | m³ | 27
REINFORCEMENT
Mild steel reinforcement to structural concrete work
17 | 10mm Diameter bars | t | 2
High tensile steel reinforcement to structural concrete work
18 | 12mm Diameter bars | t | 1
TEST CUBES
10 | Allow for preparing asetofthreeconcretestrengthtestcubes,eachsize150x150x150mm,sendingthemtoanapprovedTestingLaboratoryfortestingandpayingallchargesinconnectiontherewith(one block to be tested after 7 days). | sets | 5
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
BRICKWORK IN FOUNDATIONS
Brickwork of NFP bricks in class II mortar
20 | One brick walls | m² | 90
BRICKWORK SUNDRIES
Brickwork reinforcement
21 | 150mm Wide reinforcement built in horizontally | m | 550
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R7000,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
22 | Extra over brickwork for face brickwork | m² | 45
BILL NO.2
CONCRETE, FORMWORK AND REINFORCEMENT
UNREINFORCED CONCRETE
20MPa/19mm concrete
1 | Aprons cast in panels | m³ | 17
2 | Ramp | m³ | 1
REINFORCED CONCRETE
30MPa concrete
3 | Surface beds cast in panels on waterproofing. | m³ | 24
4 | Allow for preparing a set of three concrete strength test cubes, each size 150x150x150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | sets | 5
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a steel trowel
5 | Surface beds, slabs, etc | m² | 240
Finishing top surfaces of concrete smooth with a wood trowel
6 | Aprons to falls | m² | 110
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No110 for CPAP formula purposes.
ROUGH FORMWORK (DEGREE OF ACCURACY III)
Rough formwork to sides:
7 | Edges, risers, etc. not exceeding 300mm high or wide | m | 110
MOVEMENT JOINTS ETC
Expansionjointswithbitumenimpregnatedsoftboardbetweenvertical concrete and brick surfaces
8 | 12mm Joints not exceeding 300mm high (Provisional) | m | 30
Saw cut
9 | 4 x 30mm Deep saw cut joint in concrete floor | m | 55
Mesh reinforcement:
10 | Ref 395 Mesh steel fabric reinforcement laid in surface beds, etc. lapped minimum 150mm along edges and ends (Measured net) | m² | 240
BILL NO. 3
MASONRY
SUPERSTRUCTURE
BRICKWORK SUNDRIES
Reinforced precast concrete lintels
1 | Standard 110mm wide x75mm high approved reinforced precast concrete lintel not exceeding 3m long, with ends built into brickwork in cement mortar including propping | m | 45
Brickwork reinforcement
2 | 75mm Wide reinforcement built in horizontally | m | 1100
3 | 150mm Wide reinforcement built in horizontally | m | 492
Galvanised wire ties etc
4 | 1,6mm Thick galvanised roof tie, 32mm wide, 1.2m girth bent double zig-zag, with one end built into brickwork minimum 6 courses deep and other end wrapped overtimber truss and fixed with four gavanised nails, 40mm long. | No | 10
FIBRE-CEMENT WINDOW SILLS
Natural grey sills in single lengths bedded in cement mortar, including metal fixing lugs, etc
5 | 14 x 150mm Wide sills set flat and slightly projecting | m | 25
FACE BRICKWORK
Bricks shall be ordered timeously to obtain uniformity in size and colour.
Descriptions of recessed pointing to fair facebrick work and facebrick work shall be deemed to include square recessed, hollow recessed, weathered pointing, etc.
Cuttingoffacebricks:Allcuttingtofacebricksmustbedonebyfacebrick cutting saw
Facebricks (purchase price of R7000,00/1000 bricks delivered to site excluding VAT) pointed with recessed horizontal and vertical joints.
6 | Half brick walls faced both sides | m² | 87
7 | One Brickwall faced both sides | m² | 480
BILL NO. 4
WATERPROOFING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
DAMP PROOFING
One layer 250 micron "Gunplas USB Green" polyethylene waterproofing:
1 | On compacted earth under concrete surface beds, lapped 150mm and sealed at all joints (measured net). | m² | 240
One layer 375 micron embossed "Gunplas Brikgrip" polyethylene damp proof course fixed with approved adhesive:
2 | Horizontally in walls | m² | 23
3 | Vertically in walls | m² | 2
BILL NO. 5
ROOF COVERINGS ETC
NOTE: Tenderers are advised to study the "Model Preambles for Trades (1999 edition) published by the Association of South African Quantity Sureveyors before pricing this bill
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
PROFILED METAL SHEETING AND ACCESSORIES
Note The Contractor is to submit and handover to the Representative/Agent a certificate signed by the merchant, stating that the galvanised roof covering supplied complies with the required thickness specified The Contractor is to supply and handover to the Representative/Agent by completion a written gaurantee, stating that all the roofswithsheets and accessories to be waterproof for a minimum period of one year, calculated from the final delivery date
0,55mm Thick IBR profiled galvanised roof sheeting, G550 ISQ550 with "Chromadek" Charcoal grey finish to one side and half coat Classicoat Grey other side and accessories fixed to timber purlings.
1 | Roof covering with pitch not exceeding 25 degrees | m² | 270
2 | Barge flashing 375mm girth | m | 45
ROOF INSULATION
Sisalation 410 housing grade glass fibre reinforced aluminium foil bonded insulation
3 | Insulation laid out over rafters (at approximately 1200mm centres) and fixed concurrent with tiling battens, purlins, etc | m² | 270
BILL NO. 6
CEILINGS, PARTITIONS AND ACCESS FLOORING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
CEILING CONSTRUCTION, CORNICES, ETC.
Insulation
1 | 50mm glass fibre insulation blanket to manufacturer's specification, laid on ceiling. | m² | 270
Wrought meranti
2 | 19 x 76mm Cornices nailed | m | 244
NAILED UP AND SCREWED UP CEILINGS
6mm Gypsum plastered board
3 | 6mm Gypsum plastered ceiling nailed on breandering | m² | 240
4 | Extra over ceiling for opening for 610x610mm trap door of 50x76mm wrought softwood rebated framing with one 38x38mm sawn softwood crossbrander covered with ceiling board and fitted flushing opening | No | 2
BILL NO. 7
CARPENTRY AND JOINERY
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
ROOFS, ETC
1 | Roof construction (Refer to drawings for details) | m² | 250
DOORS,ETC
44mm Solid core doors (Refer to drawings)
2 | Door 913 x 2060mm high (D1) | No | 2
3 | Door 813 x 2032mm high (D2) | No | 3
BILL NO. 8
IRONMONGERY
CATCHES, CABIN HOOKS, ETC
In accordance with "Approved" catalogue
1 | 75mm cabin hook and eye | No | 5
LOCKS
Unless otherwise described locks shall have two keys each
EN-SUITE LOCKS
The following locks are to be suitable for master key operation
In accordance with "Approved" catalogue
2 | 100mm padlock, with two keys | No | 5
3 | four-lever lockset with striking plate fixed to metal, and two keys | No | 5
HANDLES
In accordance with approved catalogue
4 | Install chrome plated pair of handles | No | 5
LETTERS, NAME PLATES, ETC
Approved 150 x 150 x 3mm thick PVC standard safety signage
5 | Fire extinguisher sign plugged | No | 2
6 | Toilet sings | No | 15
HINGES, BOLTS, ETC
7 | 100mm hinges | No | 10
8 | 160mm Stainless steel flush bolt. (Provisional) | No | 1
BATHROOM FITTINGS
Approved
9 | Polishedstainlesssteelsingletowelrail,size900x55mmdeepplugged and screwed to wall with stainless steel screws | No | 2
10 | Polishedstainlesssteeldoublearmsoaprack,size163x100mmdeepplugged and screwed to wall with stainless steel screws | No | 2
11 | Sparerollandlockablesteeltoilettissuedipenser,sizesuitableforthreetissues,pluggedandscrewedtowallwithstainlesssteelscrews.(Provisional) | No | 2
12 | Wallbinplastic40Litrecapacity,pluggedandscrewedtowallwithstainless steel screws | No | 2
Sundries
Approved
13 | Stainless half-round door stop screw and plug to floor. | No | 2
14 | 38mmdiameterrubberdoor-stopscrewedandplugedtowall/floor.(Provisional) | No | 2
BILL NO. 9
METALWORK
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WELDED SCREENS, GATES, ETC
The following in framed and welded mild steel security gates and fixing in position complete
1 | Single gate and frame 1x2032mm high of 25x25x2m hollow section frame an 25x25x2mm hollow section horizontal middle rail filled in with 12x12mm square section vertical rails at 75mm centre sand fitted with a pair of suitable hinges welded to frame of 25x25x2mm hollow section welded frame bolted to brickwork, by specialist. | No | 2
PRESSED STEEL DOOR FRAMES
1,2mm Thick single rebated door frame suitable for 115mm brickwall
2 | Frame for door 815 x 2032mm high | No | 3
3 | Frame for door 915 x 2032mm high | No | 2
1,2mm Thick single rebated door frame suitable for 230mm brickwall
ALLUMINIUM WINDOWS, DOORS, ETC
Standard aluminium windows with 4mm float glass, obscured. (Refer to drawings)
4 | Window type GP-01, size 600 x 600mm high | No | 20
5 | Window type GP-02, size 1200 x 600mm high | No | 8
6 | Window type GP-03, size 3000 x 600mm high | No | 5
7 | Window type E4, size 2000 x 600mm high | No | 4
Standard aluminium doors with 4mm clear float glass and ironmongery (Refer to drawings)
8 | Door type GP-04, size 1300 x 2100mm high | No | 7
9 | Door type GP-05, size 1800 x 2400mm high | No | 1
BILL NO. 10
PLASTERING
SUPPLEMENTARY PREAMBLES
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
SCREEDS
Screeds on concrete
1 | 30mm Thick on floors and landings | m² | 240
Cement Plaster to Brickwork
1 | On walls | m² | 30
BILL NO. 11
TILING
Note: Unless otherwise stated herein, all items in this bill shall be deemed to fall into Work Group No.120 for CPAP formula purposes.
WALL TILES
Ceramic wall tiles (PC amount R250/m2) glued to plaster (elsewhere) with approved adhesive to:
1 | To walls | m² | 240
2 | Skirting formed of ceramic tile cut to 300 x 100mm high | m | 244
BILL NO. 12
PLUMBING (PROVISIONAL))
SOIL DRAINAGE
uPVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction
Vertical fixed to wall :
1 | 40mm pipe | m | 40
2 | 110mm pipe | m | 50
PVC waste water pipes including short lengths, cutting, etc and jointed in accordance with the manufacturer's instruction and including excavation not exceeding 1,5m, risk of collapse, soilpoisoning, backfilling.
Chased into wall and concrete : Horizontal
3 | 40mm pipe | m | 60
4 | 110mm pipe | m | 14
Extra over PVC pipes for
5 | 110mm Stop End | No | 10
6 | 110mm bend | m | 10
7 | Pan connector | No | 24
8 | Roding Eye Y-junction and uPVC cover screwed on. | No | 10
9 | 40 x 110mm Reducing Junction | No | 10
10 | 110mm Y-Junction | No | 10
Gulleys
11 | 100mm Gulley trap, including head and U-PVC circular head and grating, excavation not exceeding 2mm deep | No | 4
SLEEVES, ETC
12 | 110mm PVC sleeve pipe and excavations not exceeding 1.5m deep, risk of collapse, backfilling, scattering available, etc. | m | 50
SANITARY FITTINGS
13 | Vanity complete with 5 basin | No | 2
14 | Water-closet, back to wall wash down suite comprising 90 degrees outlet closed rimback inlet pan and concealed flushing valve (elsewhere) including lid and fitments with seat. | No | 8
15 | Disabled Water-closet, back to wall wash down suite comprising 90 degrees outlet closed rimback inlet pan and concealed flushing valve (elsewhere) including lid and fitments with seat. | No | 2
16 | Shower Complete with taps,waste, etc | No | 10
17 | Urinals Complete with flushmuster | No | 12
TRAPS, ETC
18 | Basin waste, 40mm outlet and back-nut, plug and chain , un-slotted | No | 10
19 | Basin bottle-trap and arm, 40mm chromium plated | No | 10
SANITARY PIPEWORK
uPVCwastewaterpipesincludingshortlengths,cutting,etcandjointed in accordance with the manufacturer's instruction
Horizontal fxed to wall:
20 | 40mm pipe | m | 20
21 | 110mm Pipe | m | 20
Extra over PVC pipes for
22 | 40mm Pipes fixed to walls or slabs | m | 20
23 | 40mm T-joint | No | 20
24 | 110mm Pipes fixed to walls | m | 20
Extra over for
25 | 40mm Inspection Eye Bend | No | 20
26 | 110mm Stop End | No | 20
27 | 110mm Vent Horn Bend | No | 20
Sundries
28 | Allow for the test of the complete sanitary pipework | Sum | 1
WATER SUPPLY
Hard drawn copper tube water pipes with capillary type copper tube fittings, including short lengths, cutting, plain sockets and jointing
Class 0
29 | 15mm Pipes and fixing in and including chase in brick work | m | 110
30 | 22mm Pipe | m | 90
Class 2
31 | 22mm Pipe | m | 200
Extra over copper pipes for capillary fittings
Class 0
32 | 15mm Fittings | No | 25
33 | 22mm Fittings | No | 10
Flexible service pipes
34 | Flexiblehose, 15mm braided service pipe 380mm girth including two chromium plated screw caps and linings complete | No | 1
35 | Flexiblehose, 15mm braided service pipe 150mm girth including two chromium plated screw caps and linings complete | No | 2
Sundries
36 | Extra over excavation in earth for pipe trenches, chambers, etc for excavation in soft rock | m³ | 3
Brick inspection chambers including benching (covers and channels elsewhere)
37 | 400 x 400mm Inspection chamber 100mm deep internally | No | 1
Cast iron covers etc
38 | 265 x 265mm seal manhole cover and frame | No | 1
Galvanised steel pipes with screwed and socketed joints
39 | 22mm Pipes | No | 1
Extra over galvanised steel pipes with screwed and socketed joints for brass fittings
40 | 22mm Fittings | No | 1
TAPS, VALVES, ETC
Brass valves, taps, etc. including joints to copper pipes and/orfittings
41 | 22mm Brass hose bib-tap | No | 2
42 | 15mm brass in-line strainer | No | 2
43 | 15mm Ball-o-stop valve | No | 2
44 | 20mm Fullway ball cock with plastic coated mild steel lever handle | No | 2
45 | Inlet and Outlet pressure control valve 2500/400KPa | No | 1
Chromium plated valves, taps, etc. including joints to copper pipes and/or fittings
46 | Pillar tap, push-button 15mm chrome plated, with aerator for indicating hot/cold. | No | 15
Approved
| Angle valve, 15mm chromium plated | No | 2
Sundry
47 | Excavation in earth not exceeding 1m deep for pipe trenches, including risk of collapse, bedding, and backfilling | No | 2
Flush valves, etc
48 | Flushvalve, 20mm rough brass concealed Water-Closetstandardwithverticalbrassandhorizontalchromeplatedbackentryflushpipe,elbowconnector, palm press push button, rubber pan connector, integral vacuum breaker, control stop and adjustable telescopic connection. | No | 2
BILL NO. 13
GLAZING
Glazing to steel sashes fixed with approved putty:
Clear glass and glazed (Provisional)
1 | 6,38mm thick glass in glazing beads in glazing panel, exceeding 0,5m 2 and not exceeding 2m2 | No | 2
MIRRORS
2 | 6mmFloatglassmultiplesilveredmirrorsize300x450mmwithpolishedandbevellededges,holedandscrewedwithfourchromiumplateddomeheadedscrewswithrubberspacerwashersbehind,toand including hardwood plugs in wall. | No | 10
BILL NO 14
PAINTWORK
PAINTWORK, ETC TO NEW WORK ON
ON FIBRE-CEMENT
One coat primer, one coat universal under coat and two coats "Dulux" super acrylic PVA paint
1 | On ceilings | m2 | 240
WOOD SURFACES WITH
One coat Plascon merit universal under coat, and two coats Plascon Velveglo polyrethane velvet enamel paint on
2 | Doors | m² | 28
Three coats Plascon Woodcare coloured varnish on
3 | Cornice, rails, etc not exceeding 300mm girth | m² | 10
METAL SURFACES
Prepare, touch up redoxide factory primer, one coat Plascon merit universal under coat and two coats Plascon Velvaglo Polyurethane enamel paint
4 | Door frames, etc | m² | 15
5 | Steel gates | m² | 2
6 | On members of roof trusses (Provisional) | m² | 3
7 | On rails, bars, pipes, etc not exceeding 300 mm girth | m² | 10
On Floated Plaster
One coat primer and two coats interior quality PVA emulsion paint
8 | On internal walls | m² | 30
BUDGETARY ALLOWANCE
| Allow the amount of R150 000 (One Hundred and Fifty Thousands) for Electrical works | Item | 1 | 150000 | 150000
Sub - Total Carried to Summary

## Sports Field
Molemole Local Municipality
Contract Number: TECH-003-2025/27
Mogwadi Upgrading of Sports Facilities Phase 2
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 5
BILL NO. 1
SPORTS FIELD (ATHLETICS TRACK)
SITE CLEARANCE ETC
1 | Stripping and removing, debrics, vegetation and any spoil materials including trees not exceeding 200mm girth, bush, etc | m² | 2275
BULK EXCAVATION, FILLING, ETC
2 | Excavatein all materials and use for embankment or fill or dispose as ordered | m³ | 345
Extra over all excavations for carting away
3 | Surplus material from excavations on site to a dumping site to be located by the contractor | m³ | 2070
Compaction of surfaces
4 | Scarify earth surface to a depth of 150mm, breaking down oversize material and reconsolidate to 93% modified AASHTO density | m² | 1935
Soil poisoning and insecticide
5 | Apply emeregent and pre-emergent weed-killer over compacted | m² |  |  | Rate Only
Prescribed density tests on filling
6 | Maximum Dry Density test (on Engineer's request only) | No | 10
Drainage
7 | Excavate ground to appropriate fall at 500mm wide x 500mm deep around the sportsfield | m³ |  |  | Rate Only
Supply, lay and bed pipes complete with couplings
8 | Form a bidim lined, compacted sub-soil drain with slotted PVC drainpipe- 500mm wide x 500mm deep | m |  |  | Rate Only
9 | Junction boxes for sub-soil drains - 400x400 wide x350mm deep | No |  |  | Rate Only
Athletics Track
Base Course
9 | Laser level soil and compact to 95% MOD ASSHTO. Apply and laser level at depth of 200mm Grade G2 Crusher run from a commercial source and compact to 95% MOD ASSHTO density. Apply mix of river sand and cement and laser level at depth of 50mm | m² | 840
Prime Coat
10 | Supply and spray SS60 primer at a rate of 0,8l/m² | l | 3570
Asphalt Surfacing
| Supply and paver install a 25mm Continuously Graded Asphalt substrate layer | Item | 1 | 750000 | 750000
Styrene Butadiene Rubber
| Supply, prime and paver install an SBR Layer | Item | 1 | 490000 | 490000
Athletics Track Surface
11 | Supply and install 13mm Red Polyurathane Spray coat sealing and coating layers | Item | 1 | 1900000 | 1900000
Lines Setting Out and Marking
12 | Painting multicourt with roadmarking paint demarcating lines as per drawing | Item | 1 | 150000 | 150000
Sub - Total Carried to Summary

## Water
Molemole Local Municipality
Contract Number: TECH-003-2025/27
Mogwadi Upgrading of Sports Facilities Phase 2
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 6
BILL NO. 1
WATER SUPPLY
Steel sectional water tanks
Tanks shall comply with SABS CKS 114
EARTHWORKS (PIPE TRENCHES)
Excavation in earth not exceeding 2m deep
1 | Pipe Trenches | m³ | 850
Extra-over excavation above for:
2 | Soft rock excavation | m³ | 170
3 | Hard rock excavation | m³ |  |  | Rate Only
Extra over all excavations for carting away
4 | Surplus material from trench excavations to a dumping site to be located by the Contractor | m³ | 127
MEDIUM PRESSURE PIPELINES
Supply, lay and bed pipes complete with couplings
5 | 50mm diameter uPVC Class 9 pipes | m | 180
Class 12 uPVC pipes with spigot and socket with rubber ring joint including excavation in earth, bedding, backfilling and compaction and disposal of surplus material
6 | 32mm Diameter pipes laid in and including trenches not exceeding 1m deep, including thrust blocks | m | 522
7 | 63mm Diameter pipes laid in and including trenches not exceeding 1m deep, including thrust blocks | m | 460
BEDDING (PIPES)
Provision of Bedding from Trench Excavation
7 | Selected granular material | m³ | 127
8 | Selected fill material | m³ | 50
ELEVATED WATER TANK PLUS STAND
9 | Supply, deliver and Install 60kL tank on 10m high Galvanised Tower | No |  |  | Rate Only
10 | Provision for Supply and installation of Pressure Pump | No |  |  | Rate Only
TESTING
12 | Testing water pipe system | Item | 1 | 3500 | 3500
FIRE HYDRANTS
13 | Supply deliver and installation of fire hydrants, including connections | No | 5
DRINKING FOUNTAINS
14 | Provisional amount of R8 000.00 (Eight Thousand Rand) for drinking fountains | Item | 1 | 5000 | 5000
Sub - Total Carried to Summary

## Sewer
Molemole Local Municipality
Contract Number: TECH-003-2025/27
Mogwadi Upgrading of Sports Facilities Phase 2
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 6
BILL NO. 2
SEWER RETICULATION
1 | Up to 1.5m | m³ | 425
2 | Over 1.5m up to 2.5m | m³ | 85
Extra-over excavation for:
3 | Soft rock excavation | m³ | 125
4 | Hard rock excavation | m³ | 25
Extra over all excavations for carting away
5 | Surplus material from trench excavations to a dumping site to belocated by the Contractor | m³ | 90
SEWERS
Supply, lay, joint, bed and test 400KPa Main core uPVC sewer pipes manufactured to SABS 1601
6 | 110mm dia. | m | 342
7 | 160mm dia. | m | 180
Extra -over uPVC pipe for specials
8 | 110mm 90 degree plain bend | No | 5
9 | 110mm 45 degree plain bend | No | 2
10 | 110mm 45 degree plain junction | No | 3
11 | 160mm 90 degree plain bend | No | 4
12 | 160mm 45 degree plain bend | No | 4
13 | 160mm 45 degree plain junction | No | 2
MANHOLES
Supplyandconstructpre-castconcretemanholes,completewithcoverandframeandstepironsasperdrawingswithinthefollowingdepthranges(depthmeasuredfrominvertleveltotopofthe manhole)
1000mm diameter Manholes
14 | up to 1.5m | No | 4
15 | over 1.5m up to 2.0m | No | 1
BEDDING AND BACKFILLING (PIPES)
Provision of Bedding from Trench Excavation
16 | Selected granular material | m³ | 102
17 | Selected fill material | m³ | 40
Septic Tank
18 | Construction of a septic tank with all associated ancillary works as per Engineer's designs | L/Sum |  |  | Rate Only
TESTING
19 | Testing drainage pipe system | Item | 1 | 4500 | 4500
Sub - Total Carried to Summary

## Roads
Molemole Local Municipality
Contract Number: TECH-003-2025/27
Mogwadi Upgrading of Sports Facilities Phase 2
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 7
BILL NO 3
ROADS AND PARKING AREAS
Excavations
No claim for rock excavation will be entertained unless the contractor has timeously notified the Quantity Surveyor thereof prior to backfilling
Soft rockand "Hardrock"shall be as defined in the Model Preambles for Trades 2008
Site clearance, etc
1 | Stripping and removing, debris, vegetation and any spoil materials including trees not exceeding 200mm girth, bush, etc | m² | 1888
Bulk excavation, Filling, etc
| Earth filling obtained from the excavations and/or prescribed stockpiles on site compacted to 93% Maximum Dry Density | m³ | 944
2 | Over site to form platforms
Compaction of surfaces
3 | Scarify earth surface to a depth of 150mm, breaking down over size material and reconsolidate to 93% Maximum Dry Density | m² | 4720
Soil poisoning and insecticide
4 | Apply emeregent and pre-emergent weed-killer over compacted | m² | 4720
Prescribed density tests on filling
5 | Maximum Dry Density test (on engineer's request only) | No | 18
Layerworks
6 | 150mm subgrade layer ripped and compacted to 90% Maximum Dry Density | m³ | 726
7 | 150mm subbase layer compacted to 93% Maximum Dry Density | m³ | 720
Construct 150mm basecourse (chemically stabilised C4) with material excavated from designated excavations
8 | 150mm gravel base imported from commercial sources and compacted to 95% of Maximum Dry Density | m³ | 708
Stabilizing agent
9 | Extra over for stabilising over un-stabilised compacted layer | m³ | 708
10 | Ordinary Portland cement | t | 36
Stormwater Drainage
11 | Excavate for 450mm diameter stormwater pipes | m³ | 404
12 | 300mm diameter stormwater pipe laid to fall including backfill | m | 840
13 | Concrete Manholes 1050 diameter 0 to 1,50m deep including cover slabs and covers | No | 14
25mm River sand
14 | Under concrete pavers | m² | 4720
Interlocking paving blocks
15 | 60mm Thick class 25Mpa plain concrete interlocking paving blocks | m² | 4720
16 | Circular cutting | m | 180
Precast concrete kerbs:
17 | Figure 10 including unreinforced concrete haunching at back of each joint including excavation, backfilling, etc | m | 1398
18 | Ditto, but circular on plan | m | 80
Parking markings
19 | Painting parking bays and designations with road marking paint demarcating lines as per drawing | Item | 1 | 22000 | 22000
20 | Painted traffic arrow sign 1 500 x 500 mm wide extreme | No | 6
21 | Painted disabled parking sign 1 500 x 500 mm wide extreme | No | 8
Sub - Total Carried to Summary

## Prov Sums
Molemole Local Municipality
Contract Number: TECH-003-2025/27
Mogwadi Upgrading of Sports Facilities Phase 2
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO 7
BILL NO 1
PROVISIONAL SUMS
PROVISIONAL AMOUNTS
500 seating grandstand with pre-cast concrete panels and roof structure
1 | Provisional Amount of R4 800 000.00 (Four Million and Seven Hundred Thousand Rand) for the design, manufacturing and complete installation of a 450 seating grandstand with a roof structure | Item | 1 | 4800000 | 4800000
2 | Allow for profit if required | % | 4800000
3 | Allow for general attendance if required | % | 4800000
Signage and Nameplates
4 | Provisional amount of R15 000.00 (Fifteen Thousand Rand) for supply and installation of facility sign boards and building name plates | Item | 1 | 15000 | 15000
5 | Allow for profit if required | % | 15000
6 | Allow for general attendance if required | % | 15000
Steel Hand railings
7 | Provisional amount of R120 000.00 (One Hundred & Twenty Thousand Rand) for supply and installation of steel hand rails for the grandstand | Item | 1 | 75000 | 75000
Groundwater Source Development
8 | Provisional amount of R350 000.00 (Three Hundred and Fifty Thousand Rand) for "Groundwater Resource: Siting, Drilling 1 x Borehole and Equiping with Electric Pump" | Item | 1 | 350000 | 350000
9 | Allow for profit if required | % | 350000
10 | Allow for general attendance if required | % | 350000
Provision of Accredited Training - Generic Skills
11 | Provisional Amount of R90 000.00 (Ninety Thousand Rand) for the Accredited | Item | 1 | 90000 | 90000
12 | Allow for general attendance if required | % | 90000
Outdoor Gym
13 | Provisional amount of R300 000.00 (Three Hundred Thousand) for "Construction of outdoor gym platform and installation of gym equipment" | Item | 1 | 300000 | 300000
14 | Allow for profit if required | % | 300000
15 | Allow for general attendance if required | % | 300000
Indigenous Games Areas
16 | Provisional amount of R180 000.00 (One Hundred and Eighty Thousand) for construction of outdoor indigenous games platform | Item | 1 | 180000 | 180000
17 | Allow for profit if required | % | 180000
18 | Allow for general attendance if required | % | 180000
Electrical Works and Lighting
19 | Provisional amount of R1 900 000.00 (One Million, Nine Hundred Thousand) for "Electrical Works and Sports Facility Flood Lighting" | Item | 1 | 1900000 | 1900000
20 | Allow for profit if required | % | 1900000
21 | Allow for general attendance if required | % | 1900000
Sub - Total Carried to Summary

## Summary
MOLEMOLE LOCAL MUNICIPALITY
CONTRACT NUMBER: TECH-003-2025/27
MOGWADI UPGRADING OF SPORTS FACILITIES PHASE 2
SUMMARY OF SCHEDULES
SECTION | DESCRIPTION | AMOUNT
FINAL SUMMARY
1 | Preliminaries and General Items | 0
2 | Ablutions (Two Blocks) | 0
3 | Guard House | 0
4 | Dressing Rooms | 0
5 | Sports Field (Athletics Track) | 0
6 | Water Supply - Bill 1 | 0
6 | Sewer Reticulation - Bill 2 | 0
6 | Roads And Parking Areas - Bill 3 | 0
7 | Provisional Sums | 0
| SUB TOTAL A | 0
| CONTINGENCIES @ 5% | 0
| SUB TOTAL B | 0
| ADD VALUE ADDED TAX @ 15% | 0
| PROJECT COST ESTIMATE INCLUDING VAT | 0